Solar Decathlon China 2017 RULES V1.0

Last Updated: June 12, 2016

# Contents

Contents

Contents	2

SECTION I:	DEFINITIONS	1

Assembly	1

Chairman	1

Communications manager/officer	1

Communications materials	1

Competition	1

Competition language	1

Competition manager/officer	1

Competition prototype	1

Contest	1

Contest official	1

Contest week	1

Decathlete	1

Decision	1

Decisions on Solar Decathlon China Rules	1

Disassembly	1

Event	1

Event production manager/officer	1

Event sponsor	2

Executive Committee	2

Faculty advisor	2

Grid-tie assembly	2

Hosting City	2

Interconnection application	2

Juried subcontest	2

Juror	2

Jury	2

Measured subcontest	2

Observer	2

Organizer	2

Organizing Committee	2

Project	2

Protest resolution committee	2

Public exhibit	2

Safety officer	3

Scored period	3

Scorekeeper	3

Scoring server	3

Site operations manager/officer	3

Solar Decathlon China Building Code	3

Solar Decathlon China Building Code official	3

Staff	3

Stand-alone Assembly	3

Subcontest	3

Team crew	3

Team member	3

Village grid	3

SECTION II:	GENERAL RULES	4

Rule 1.	Authority	4

1-1.	Chairman	4

1-2.	Competition Manager	4

1-3.	Rules Officials	4

1-4.	Organizers	4

1-5.	Staff and Volunteers	4

Rule 2.	Administration	4

2-1.	Precedence	4

2-2.	Violations of Intent	4

2-3.	Effective Date	4

2-4.	Official Communications	4

2-5.	Decisions on the Rules	5

2-6.	Self-Reporting	5

2-7.	Penalties	5

2-8.	Protests	6

Rule 3.	Participation	6

3-1.	Entry	6

3-2.	Contact Information	6

Table 1: Team officers	7

3-3.	Safety	7

3-4.	Conduct	7

3-5.	Use of Likeness, Content, and Images	9

3-6.	Withdrawals	9

Rule 4.	Site Operation	9

4-1.	Damage Liability	9

4-2.	Construction Equipment	9

4-3.	Spill Containment	9

4-4.	Lot Conditions	9

4-5.	Electric Vehicles	9

Rule 5.	The Solar Envelope	10

5-1.	Lot Size	10

5-2.	Solar Envelope Dimensions	10

Rule 6.	The Competition House	11

6-1.	Competition Prototype Requirements	11

6-2.	Structural Design Approval	11

6-3.	Finished Area	11

6-4.	Entrance and Exit Routes	11

6-5.	Competition Prototype Alternates	11

Rule 7.	Vegetation	12

7-1.     Placement	12

7-2.	Watering Restrictions	12

Rule 8.	Energy	12

8-1.	Energy Sources	12

8-2.	Batteries	12

8-3.	Desiccant Systems	13

8-4.	Village Grid	13

8-5.	Net Metering Rules	13

Rule 9.	Liquids	13

9-1.	Container Locations	13

9-2.	Water Supply	13

9-3.	Greywater Reuse	13

9-4.	Rainwater Collection	13

9-5.	Evaporation	14

9-6.	Thermal Mass	14

9-7.	Greywater Heat Recovery	14

9-8.	Water Removal	14

Rule 10.	The Event	14

10-1.  Registration	14

10-2.   Event Sponsor Recognition	14

10-3.   Team Sponsor Recognition	14

10-4.  Logistics	15

10-5.  Inspections	15

10-6.   Communications Materials	15

Rule 11.	Contest Week	15

11-1.   House Occupancy	15

11-2.   House Operators	16

11-3.   Late Design Changes	16

11-4.   Public Exhibit	16

11-5.   Team Uniforms	16

11-6.  Impound	17

Rule 12.	Cost	17

12-1.   Construction Cost	17

12-2.   Project Cost	17

SECTION III:	CONTEST CRITERIA	18

Contest 1. Architecture	19

Architectural Concept and Design Approach	19

Architectural Implementation and Innovation	19

Documentation	19

Contest 2. Market Appeal	20

Livability	20

Marketability	20

Buildability	20

Contest 3. Engineering	21

Innovation	21

Functionality	21

Efficiency	21

Reliability	21

Documentation	21

Contest 4. Communications	21

Communications Strategy	22

Electronic Communications (team website and social media)	22

Public Exhibit Materials (on-site signage and handout)	22

Public Exhibit Presentation	22

Audiovisual Presentation	22

Contest 5. Innovation	22

Innovation	22

Research	22

Sustainability	22

Contest 6. Comfort Zone	23

6-1.	Temperature	23

Figure 4: Scoring function for the Temperature Subcontest	23

6-2.	Humidity	23

Figure 5: Scoring function for the Temperature Subcontest	24

Contest 7. Appliances	24

7-1.	Refrigerator	24

Figure 6: Scoring function for the Refrigerator Subcontest	24

7-2.	Freezer	24

Figure 7: Scoring function for the Freezer Subcontest	25

7-3.	Clothes Washer	25

7-4.	Clothes Drying	25

Figure 8: Scoring function for the Clothes Drying Subcontest	26

7-5.	Dishwasher	26

7-6.	Cooking	26

Figure 9: Scoring function for the Cooking Subcontest	27

Contest 8. Home Life	27

8-1.	Lighting	27

8-2.	Hot Water	27

Figure 10: Scoring function for the Hot Water Contest	29

8-3.	Home Electronics	29

8-4.	Dinner Party	29

8-5.	Movie Night	30

Contest 9. Commuting	30

Figure 11: Scoring function for the Commuting Contest	31

Contest 10. Energy Balance	31

10-1.   Energy Production	31

Figure 12: Scoring function for the Energy Production Subcontest	31

10-2.   Energy Consumption	32

Figure 13: Scoring function for the Energy Consumption Subcontest	32

Appendix A: Event Schedules	32

A-1.	Overview Event Calendar	32

Appendix B: Juried Subcontest Guidelines	34

B-1.	Juror Guidelines	34

Table 5: Juror time commitments for deliverables review and on-site walkthroughs	34

B-2.	Team Guidelines	35

B-3.	Public Exhibit Requirements	36

Appendix C	Measured Subcontest Guidelines	38

C-1.	Monitored Performance Subcontests	38

C-2.	Task Completion Subcontests	38

Appendix D	Competition Deliverables	39

D-1. Team Short Description & Project Management Plan	39

D-2. Schematic Design Summary	39

D-3. Team Overview	41

D-4. Design Development Documentation Submission	41

Design Development Drawings	41

Design Development Project Manual	42

D-5. Digital Project Representation	42

D-6. Final Construction Documentation Submission	43

Construction Drawings	43

Project Manual	44

Stamped Structural Submission	44

Health and Safety Plan	44

D-7.  Project Summary & Public Exhibit Materials	45

Project Summary	45

Team Photograph	46

Construction Photography	46

Team Logo	46

Digital Project Representation	46

Competition Prototype Graphic Floor Plan	47

D-8. Jury Deliverables	48

Jury Narratives	48

As-­‐Built Drawings	48

As-­‐Built Specifications	49

Audiovisual Presentation	49

D-9. Final Report	49

Appendix E	Communications Deliverables	51

E-1.	Web Site	51

E-2.	Computer-Animated Walkthrough	53

E-3.	Video Walkthrough	53

E-4.	Scale Model	54

E-5.	Project Summary	54

Narrative	54

Team Photograph	54

Team Logo	55

E-6.	Public Exhibit Materials	55

E-7.	Final Report	56

Appendix F	Health and Safety Plan	57

F-1.	Plan Development	57

F-2.	Required Training	57

F-3.	Submission and Approval	57

Appendix G	Deliverable Submission Instructions	58

G-1.	Web Site URL	58

G-2.	PDF Requirements	58

G-3.	Electronic File-Naming Instructions	58

G-4.	Electronic File Submission Options	58

# SECTION I:	DEFINITIONS

## Assembly

The period of time between the arrival of trucks and the beginning of the contests on the competition site

## Chairman

The organizer with final decision-making authority regarding all aspects of the project

## Communications manager/officer

The organizer responsible for the project’s public outreach and communications activities

## Communications materials

All printed or electronic publications designed to convey information to the public

## Competition

All aspects of the Solar Decathlon China related to the contests and the scoring of those contests

## Competition language

The official language of the Solar Decathlon China 2017 competition will be English. Teams will be expected to provide guided tours and communications materials in both English and Mandarin, Chinese

## Competition manager/officer

The organizer responsible for writing and enforcing the rules and conducting a fair and compelling competition

## Competition prototype

The complete assembly of physical components installed on the competition site

## Contest

The Solar Decathlon China competition consists of 10 separately scored contests, each containing one or more subcontests

## Contest official

An individual selected by the competition manager to officiate one or more of the contests; a contest official is only authorized to interpret the rules of the contest(s) to which he or she is assigned

## Contest week

The 12-day period on the competition site when some or all contests are in progress

## Decathlete

A team member who meets the decathlete eligibility rules that will be outlined in the file posted on the official website

## Decision

The rules officials’ interpretation or clarification of a rule

## Decisions on Solar Decathlon China Rules

The compilation of all decisions made by the rules officials during the project

## Disassembly

The period of time between the closing of the public exhibit and the completion of competition site cleanup; rule 8-1 does not apply during disassembly

## Event

The activities that take place on the competition site including, but not limited to, registration, assembly, inspections, contests, special events, public exhibits, and disassembly

## Event production manager/officer

The organizer responsible for the project’s special events and volunteer activities

## Event sponsor

An entity selected to support the Solar Decathlon China to help ensure the success of the project

## Executive Committee

A committee composed of NEA, DOE, China Overseas Development Association, Applied Materials and selected stakeholder representatives with overall approval and decision making responsibility

## Faculty advisor

A team member who is the lead faculty member and primary representative of a participating school in the project; also provides guidance to the team on an as-needed basis throughout the project

## Grid-tie assembly

The period of time during assembly after the house has been connected to the village grid (interconnected); rule 8-1 applies during grid-tie assembly

## Hosting City

The city selected to host the Solar Decathlon China competition. SD China 2017 will be held in Dezhou, Shandong Province.

## Interconnection application

Submitted in the project manual by the team’s electrical engineer, this form provides the technical details needed to determine the suitability of the team’s electrical system for interconnection to the village grid

## Juried subcontest

A subcontest based on a jury evaluation

## Juror

An individual selected by the organizers to make subjective evaluations of the projects

## Jury

A group of jurors evaluating a specific aspect of each team’s project

## Measured subcontest

A subcontest based on task completion or monitored performance

## Observer

Assigned by the competition manager to observe team activities during contest week, an observer reports observed rules infractions to the rules officials and records the results of specific contest tasks, but does not provide interpretations of the Solar Decathlon China Rules

## Organizer

A NEA or China Overseas Development Association employee, or observer working on the project and having the authority described in rule 1-4

## Organizing Committee

The team composed of NEA or China Overseas Development Association employees, or observers, responsible for the implementation of the Solar Decathlon China program and having the authority described in rule 1-4

## Project

All activities related to Solar Decathlon China 2017—from the issuance of the request for proposals through the closing of contracts.

## Protest resolution committee

A group of individuals selected by the organizers to resolve team protests during the competition

## Public exhibit

Areas of the competition site open to the public during designated hours

Rule

A principle or regulation governing conduct, action, procedure, arrangement, etc., for the duration of the project

Rules official

An organizer authorized to interpret the rules; the competition manager is the lead rules official

## Safety officer

An organizer whose primary responsibilities are to review the teams’ construction documents and evaluate the teams’ competition site activities for compliance with rule 3-3

## Scored period

Any 15-minute period beginning at 0, 15, 30, or 45 minutes after the hour, during which a particular monitored contest is in progress

## Scorekeeper

The individual selected by the organizers to operate the scoring server during the competition

## Scoring server

A server that collects data from the central data logger server; includes forms for manually entering juried and task-based measured contest results, and calculates composite scores

## Site operations manager/officer

The organizer responsible for all event site operations except those listed as responsibilities of the competition manager/officer and event production manager/officer

## Solar Decathlon China Building Code

The International Building Code (IBC) 2015 and the International Residential Code (IRC) 2015 will be applied and enforced as the design and construction standard for all competition entries. IBC and IRC will be enforced by the Solar Decathlon China building official for the protection of public health and safety during the event

## Solar Decathlon China Building Code official

The rules official responsible for writing, interpreting, and enforcing the Solar Decathlon China Building Code

## Staff

Individuals working for the organizers on the project

## Stand-alone Assembly

The period of time before the house has been interconnected to the village grid

## Subcontest

An individually scored element within a contest

## Team crew

A person who is integrally involved with a team’s project but is unaffiliated with a participating school; contractors, volunteers, and sponsors represent team crew examples.

## Team member

An enrolled student, recent graduate, faculty member, or other person who is affiliated with one of the participating schools and is integrally involved with a team’s project activities; decathletes, faculty advisors, and involved staff from a participating school are all considered team members

## Village grid

The bi-directional, AC electrical network on the competition site to which each house has an individually metered connection

# SECTION II:	GENERAL RULES

## Rule 1.	Authority

### 1-1.	Chairman

The organizer with the final decision-making authority in all aspects of the project.

### 1-2.	Competition Manager

The competition manager is the only rules official authorized to write and modify the rules.

### 1-3.	Rules Officials

The rules officials are the only organizers authorized to interpret the rules. revise the project schedule, change a team’s score, or enforce the rules as required for the fair and efficient operation or safety of the competition.

- If there is any doubt or ambiguity as to the wording or intent of these rules, the decision of the rules officials shall prevail.

- Printed, electronic, and verbal communications from the rules officials shall be considered part of, and shall have the same validity as these rules.

### 1-4.	Organizers

Occasionally, a rules official may not be immediately available to make an extremely time-sensitive decision. In these rare cases, organizers are authorized to revise the project schedule, change a team’s score, or enforce the rules in any manner that is, in their sole judgment, required for the fair and efficient operation or safety of the competition.

### 1-5.	Staff and Volunteers

Solar Decathlon China staff and volunteers are not authorized to revise the project schedule, change a team’s score, or enforce the rules under any circumstances.

## Rule 2.	Administration

### 2-1.	Precedence

If there is a conflict between two or more rules, the rule having the later date takes precedence.

### 2-2.	Violations of Intent

A violation of the intent of a rule is considered a violation of the rule itself.

### 2-3.	Effective Date

The latest version of the Rules will be posted on the official website and dated for the year of the event represents the Rules in effect.

### 2-4.	Official Communications

It is the team’s responsibility to stay current with official project communications. Official communications between the teams and the organizers occur through, but are not limited to, one or more of the following:

- The Solar Decathlon China Website: Official communications suitable for viewing by all teams are posted on the official Solar Decathlon China website.

- Competition officials’ e-mail (support@sdchina.org.cn): For confidential communications or the transfer of small (<5 MB), confidential files, teams may e-mail the competition manager. The content of communications sent 
to this email address remains confidential, unless the team grants permission to the competition manager to divulge the content of these communications to the other teams. See the exception in rule 2-5 for more information about confidentiality.

- E-mail: For expediency and to protect confidentiality, the organizers may choose to communicate with teams via team members’ e-mail addresses.

- Conference calls: Teams are strongly encouraged to participate in regularly scheduled conference calls with the organizers. Invitations and instructions for participation in conference calls are provided via email.

- Meetings: Before the event, the teams and organizers have one or more in-person meetings. Notification of the date(s) and agenda(s) for this meeting(s) is made via email. During the event, a meeting is held the day before assembly begins. Meetings are also held on a daily basis throughout the event.

- WeChat Group: Official group for competition-related media sharing, conversations, frequently asked questions and fast communication between teams and organizers.

- Time Zone: For the purposes of this competition, the official time-zone is “Beijing”. All times, unless stated otherwise, should be assumed to be for the “Beijing” time zone.

### 2-5.	Decisions on the Rules

- The Decisions on the Solar Decathlon China Rules offers interpretations of the rules contained in this document, the Solar Decathlon China Rules.

- After the rules officials make a decision that may, in their opinion, directly or indirectly affect the strategies of all teams, the rules officials add the decision to the Decisions on the Solar Decathlon China Rules and notify the teams of the addition via email.

Exception: If such a notification would unfairly reveal the strategies of one or more individual teams, the organizers may, depending on the circumstances, refrain from notifying all teams of the decision.

### 2-6.	Self-Reporting

Teams shall self-report obvious or suspected rules infractions that have occurred or may occur.

- The Solar Decathlon China Rules do not address every possible scenario that may arise during the competition. Therefore, a team considering an action that is not explicitly permitted by the rules should ask the rules officials for a decision before proceeding with the action. If the team does not ask for an official decision, it puts itself at risk of incurring a penalty.

- The rules officials and chairman exercise discretion when determining the penalty for a rules infraction. Rules infractions observed by rules officials, organizers, or other teams, i.e., not self-reported by the team committing the infraction, may be subject to more severe penalties than self-reported rules infractions.

### 2-7.	Penalties

Teams committing rules infractions are subject to one or more of the following penalties, depending on the severity of the infraction: 1) point penalty applied to one or more contests; 2) disqualification from part, or all, of one or more subcontests; or 3) disqualification from the competition.

- The rules officials shall determine the severity of rules infractions and classify them as minor or major.

- The rules officials are authorized to apply point penalties and disqualify a team from part, or all, of one or more subcontests as a consequence of minor rules infractions.

- The rules officials shall report to the chairman all major rules infractions. The chairman is solely authorized to apply point penalties or disqualify a team from the competition or from part, or all, of one or more subcontests for major rules infractions.

- Disqualification from the competition requires prior notice to the team and an opportunity for the team to make an oral or written statement on its behalf.

- The competition officials shall notify all teams via the scoring server when a penalty has been assessed against any team. The notification shall include the identity of the team receiving the penalty; a brief description of the infraction, including its severity, i.e., minor or major; and a brief description of the penalty.

### 2-8.	Protests

Official written protests may be filed by a team for any reason. A filing fee of up to 10 points may be assessed to the team filing the protest if the protest is deemed by the protest resolution committee to be frivolous.

  - Teams are encouraged to communicate with the rules officials to resolve issues and complaints before resorting to the protest process. Protests should be filed only if a) the team and the rules officials are unable to resolve the dispute themselves; or b) the team or the rules officials are too busy to engage in discussions that may result in resolution of the dispute without a protest.

  - Protests shall be submitted between 8 a.m. and 6 p.m., and within 24 hours of the action being protested. The final opportunity to file a protest is 30 minutes following the conclusion of the final subcontest on the final day of contest week.

Exception: The results of one or more subcontests may be announced during the final awards ceremony. The results of subcontests announced during the final awards ceremony may not be protested.

  - The protest shall be submitted to the competition manager in a sealed envelope. It shall include the name and signature of a decathlete, the date of the protest submission, an acknowledgment that a 10-point filing fee may be assessed, and a clear description of the action being protested.

  - The protest resolution procedure follows:

    - The competition manager convenes the protest resolution committee.

    - The competition manager submits the sealed envelope containing the team’s written protest to the committee.

Unless the competition manager is called by the committee to testify, he is not permitted to read the protest until after the protest resolution committee has submitted its written decision.

    - The committee opens the envelope and reads the protest in private. No appearance by organizers or team members is authorized during the committee’s private deliberations. No right to counsel by organizers or team members is authorized.

    - The committee notifies the competition manager if it would like to call any individuals for testimony. The competition manager notifies individuals called for testimony. The committee may call the competition manager/officer for testimony.

    - Testimony is provided by individuals called by the committee.

    - The committee notifies the competition manager of its decision in writing and indicates how many points shall be assessed as a filing fee. The decision of the committee is final and no further appeals are allowed.

    - If the decision involves changes to a team’s score or the assessment of a filing fee, the competition manager notifies the scorekeeper of the changes, and the scorekeeper applies the changes to the scoring server.

    - The competition manager posts a copy of the written protest and decision on the Yahoo Group.

## Rule 3.	Participation

### 3-1.	Entry

The project is open to colleges, universities, and other post-secondary educational institutions. Entry is determined through a proposal process. All proposals are reviewed, scored, and ranked. Subject to the quantity and quality of proposals, a limited number of teams will be selected for entry.

### 3-2.	Contact Information

Each team shall provide contact information for the team officers listed in Table 1 and shall keep the contact information current for the duration of the project.

- If a team’s internal officer titles do not exactly match those listed in Table 1, each team shall still provide the contact information for the person fulfilling each of the areas of responsibility described in the second column.

- Teams shall provide the contact information for one and only one person in each officer position; these individuals are responsible for forwarding information to any “co-officers,” as necessary.

- An individual may have multiple officer titles.

- Faculty members are only eligible to fill the “faculty advisor” team officer position. Eligible decathletes must fill all other team officer positions.

### Table 1: Team officers

| Title | Responsibilities |
| --- | --- |
| Primary student contact | Ensures that official communications from the organizers are routed to the appropriate team member(s) |
| Project manager | Responsible for planning and executing the project |
| Public relations contact | Works in conjunction with SD China’s communications manager to coordinate the team’s interactions with the media |
| Construction manager | Responsible for planning and executing the construction, transport, assembly, and disassembly of the house |
| Architecture project manager | Responsible for the architectural design effort; license not required |
| Project engineer | Responsible for the engineering design effort; license not required |
| Measured contest captain | Serves as the primary strategist and coordinator of tasks in Contests 6 through 10; is responsible for demonstrating the compliance of appliances with the SDC2017 Rules |
| Health & safety officer | Responsible for developing and enforcing the team’s Health & Safety Plan |
| Fire watch captain | Responsible for the team’s life safety during the event |
| Instrumentation contact | Collaborates with the organizers’ instrumentation team and the team’s construction manager to accommodate the organizer’s equipment |
| Electrical engineer | Completes the Interconnection Application and works in conjunction with the site operations manager to interconnect the house to the micro-grid on the competition site; license not required |
| Faculty advisor | Serves as the lead faculty member and primary representative of a participating school in the project; also provides guidance to the team throughout the project |
| Sponsorship manager | Responsible for recruiting team sponsors and for ensuring that the team complies with Rule 10-3 |

### 3-3.	Safety

Each team is responsible for the safety of its operations.

- Each team member and team crew member shall work in a safe manner at all times during the project.

- Each team shall supply all necessary personal protective equipment (PPE) and safety equipment for all of the team’s workers during the project.

- During assembly and disassembly, a minimum level of PPE—hard hat (ANSI Z89.1 or equivalent, Type I, Class G or better), safety glasses with side shields (ANSI Z87.1 or equivalent), shirt with sleeves at least 3 in. (7.6 cm) long, long pants (the bottoms of the pant legs shall, at a minimum, touch the top of the boots when standing), and safety boots (ANSI Z41 PT99 or equivalent) with ankle support—shall be used by each team member and team crew member. Additional PPE or safety equipment shall be used if required for the task being performed.

- Children under the age of 18 are not permitted to be on the teams’ sites during assembly and disassembly.

- Organizers may issue a stop work order at any time during the project if a hazardous condition is identified.

### 3-4.	Conduct

Improper conduct or the use of alcohol or illegal substances will not be tolerated. Improper conduct may include, but is not limited to, improper language, unsportsmanlike conduct, unsafe behavior, distribution of inappropriate media, or cheating.

### 3-5.	Use of Likeness, Content, and Images

Team members and crew agree to the use of their names, likenesses, content, graphics, and photos in any communications materials issued by the organizers and event sponsors.

  - Content and images (graphics and photos), and any publications in which the content and images appear, may be viewable and made available to the general public via NEA’s, China Overseas Development Association’s, and the event sponsors’ Web sites with unrestricted use.

  - The organizers and event sponsors will make all reasonable efforts to credit the sources of content and images, although they may be published without credit. To ensure proper usage of and credit for images, teams should submit photos and graphics by following the instructions for submitting images located in Appendix G.

Exception: The deliverables status sheet will be delivered to teams via email in order to indicate which deliverables will remain confidential through the completion of the project. All other competition and contract deliverables may be made publically available any time after their receipt by the organizers.

### 3-6.	Withdrawals

Any team wishing to withdraw from the project must notify the competition manager in writing. All written withdrawals signed by a faculty advisor are final.

## Rule 4.	Site Operation

### 4-1.	Damage Liability

Each team is financially responsible for any damage it causes to the competition site.

### 4-2.	Construction Equipment

- Truck-mounted cranes, trailers, semi-trailer trucks necessary for assembly and disassembly will be provided by the organizers for on-site construction purposes. The participant teams will only have to submit requests by the end of 2016 upon notice. The organization will administer the use of the crane to guarantee its maximum efficiency, attending to the needs of each team. The participants will have to bring the auxiliary resources for the elevation and movement of the houses and their constitutive elements. They will also have to bring the components for the anchoring and supporting of their auxiliary resources.

- Truck-mounted cranes, trailers, semi-trailer trucks, etc., are generally limited to the gravel paths. However, under special circumstances approved by the site operations manager, trailers and semi-trailers may be driven on the Competition Site.

- Teams will have to respect internal circulations which will be laid out for vehicles. Only one truck per team will be permitted at a time in the Solar Village. The rest of the trucks will have to wait for the previous truck to leave the solar village.

- Construction Power: Construction power will be provided for each team on the competition site.

### 4-3.	Spill Containment

a.	Water or other liquids must be released to the designated disposal areas.

### 4-4.	Lot Conditions

Up to 10 cm of vertical elevation change may exist across a lot. Design and plan accordingly.

### 4-5.	Electric Vehicles

Teams are expected to locate an electric vehicle within their solar envelopes during contest week.

- The vehicle must be electric. Hybrid vehicles and non-electric vehicles are not permitted.

- Movement of the vehicle on and off the competition site is prohibited one half hour prior to, one half hour after, and throughout all public exhibit periods.

- The competition prototype house must include the infrastructure required to charge the vehicle.

- Any vehicle used must be commercially available to all teams at the beginning of contest week.

- The vehicle must have four wheels and, at a minimum, seat two individuals side by side.

- The vehicle must be licensed, registered, and insured as required for operation on Dezhou, Shandong roadways.

## Rule 5.	The Solar Envelope

### 5-1.	Lot Size

Lots are 25 meters east to west by 25 meters north to south.

### 5-2.	Solar Envelope Dimensions

The house and all site components on a team’s lot must stay within the 8.4-meter-high solar envelope, with the first story set least 0.3 meters above grade.

- The official height of a site component or set of contiguous site components is the vertical distance from the point of highest grade along the outside perimeter of the site component(s) to the highest point of the site component(s).

- Small weather stations, antennas, air vents, and other similar components may be specifically exempted from Rule 5- 2 if all of the following conditions are met:

  - The team makes a request to the competition official for an exemption.

  - The team can prove to the competition official’s satisfaction that the component is not significantly restricting a neighbor’s right to the sun.

  - The competition official determines that the component is sufficiently unique in function and small in size to warrant an exemption.

- Moveable or convertible house or site components shall not extend beyond the solar envelope during live demonstrations or in printed or electronic media presented by the team during jury visits, public exhibit hours, or contests.

Figure 1: Solar envelope dimensions (meters)

## Rule 6.	The Competition House

### 6-1.	Competition Prototype Requirements

All competition entries shall be designed and built for permanent purpose. Each competition prototype must be 1-2 stories with the finished area as indicated in Rule 6-2.

a. Residential Category: Teams may define the type of the designed residential projects to be the following two options:

Option 1: Detached Single Family house: a freestanding residential building that accommodates the dwelling of one family;

Option 2: An attached home (a structure that shares a common wall or walls with another unit) that accommodates one family, or one unit of a larger urban dwelling structure that accommodates the dwelling of one family.

b. Construction: OCSDC will provide concrete building pad for teams to build the projects on site. No construction below grade is permitted on site. OCSDC will also provide concrete building pad for teams to build the projects on site.

### 6-2.	Structural Design Approval

Each team shall submit structural drawings and calculations that have been stamped by a qualified, licensed design professional.

- By stamping the structural drawings and calculations, the licensed professional certifies that the structural provisions of the Solar Decathlon China Building Code have been met by the design, and that the structure is safe for the public to enter if it has been built as designed.

- The licensed professional shall stamp the structural drawings and calculations of the house and all site components that might pose a threat to public safety if they fail.

### 6-3.	Finished Area

The finished area of the house shall be at least 120 m2, but shall not exceed 200 m2. SD China 2017 adopts the method of calculating the finished area as defined by ANSI Z765-2003, with special notice of the following contents from ANSI Z765-2003.

- Finished Area: An enclosed area in a house that is suitable for year-round use, embodying walls, floors and ceilings that are similar to the rest of the house.

- Porches, balconies, decks and similar areas that are not enclosed or not suitable for year-round occupancy cannot be included in the Statement of finished area but may be listed separately, measured from the exterior finished surface of the house to the outer edge of the floor surface area or exterior surface, and calculated by using the method referenced in the standard.

### 6-4.	Entrance and Exit Routes

- The main house entrance may be placed on any side of the house. However, an accessible route leading from the main street of the solar village to the main house entrance shall be provided.

- The house exit route shall lead from the main house exit to the main street of the solar village.

Possible Exception: Pending the approval of the site operations manager, teams on “corner lots” may modify the exit route so that it empties onto a “cross street.” Teams requesting this option shall provide an alternate site plan in the construction documents that shows an exit to the cross street. The alternate site plan will be considered if the team ends up on a corner lot. However, the location of corner lots will not be known with certainty until the beginning of assembly.

- Teams shall clearly illustrate and label the entrance and exit routes between solar envelope “property lines” and house entrance/exit in the construction drawings. The site operations manager will use these drawings to calculate the quantity of walkway material required by each team.

### 6-5.	Competition Prototype Alternates

Alternates to the competition prototype shall not be proposed in materials intended for consideration by the Architecture, Market Appeal, Engineering and solar application juries. It is permissible to show the competition prototype house in context in renderings, photographs, or other media. Team Web sites and public exhibit communications materials are not subject to this rule.

- Teams shall not propose alternates to address local building code provisions and site restrictions at the target client’s site. The juries will be instructed to assume that the Solar Decathlon China Rules and the specified Building Code also apply at the target client’s site.

- Public exhibit communications materials are not considered as part of the competition prototype and, therefore, shall not be shown in renderings and other graphical representations.

## Rule 7.	Vegetation

The use of potted vegetation is permitted.

### 7-1.     Placement

Vegetation may be moved around the lot until the beginning of contest week, after which it shall remain stationary until the conclusion of contest week unless the drawings clearly show how some or all vegetation is designed to be moved as part of an integrated system.

### 7-2.	Watering Restrictions

Greywater that may possibly contain organisms that could go septic shall not be used to water vegetation.

## Rule 8.	Energy

### 8-1.	Energy Sources

After the conclusion of assembly and until the conclusion of the Energy Balance Contest (see Appendix A for the detailed event schedule), global solar radiation incident upon the lot and the energy in small primary batteries (see rule 8-2 for limitations) are the only sources of energy that may be consumed in the operation of the house without the requirement of subsequent energy offsets.

- All other energy sources, such as AC grid energy, consumed in the operation of the house must be offset by an equal or greater amount of energy produced, or “regenerated,” by the house.

- Fireplaces, fire pits, candles, and other devices using non-solar fuels are not permitted in the designs.

Exception: The limited use of batteries is permitted by Rule 8-2.

### 8-2.	Batteries

Batteries include most commercially available energy storage devices, such as electrochemical batteries and capacitors. Domestic energy storage equipment may be designed and used in projects.

- The use of batteries as part of the competition prototype design is permitted. Teams who propose to use storage batteries must notify the OCSDC before the submission of Schematic Design Summary and provide specifications of the equipment.  The storage batteries shall be integrated with the site grid with monitoring meters.

- The batteries must end the contest week fully charged. The batteries, and associated enclosure(s), must be compliant with the Solar Decathlon China Building Code. The team’s electric vehicle shall end the contest week with a fully charged battery.

- The use of primary (non-rechargeable) batteries (no larger than “9V” size) is limited to smoke detectors, remote controls, thermostats, alarm clock backups, and other small devices that typically use small primary batteries.

- The use of the factory-installed battery within the team’s electric vehicle is permitted. Vehicle-to-grid power flow is only permitted if vehicle-to-grid power flow and associated equipment is approved by the vehicle’s manufacturer.

- “Plug-in” (non-hard-wired) devices with small secondary (rechargeable) batteries that are designed to be recharged by the house’s electrical system (e.g., a laptop computer), shall be connected, or “plugged into,” the house’s electrical system whenever the devices are located in the house or on the house site.

Exception: If not used in the operation of the house at any time during contest week, portable electronic devices used for mobile communications, such as cell phones and PDAs, are permitted on site without having to be plugged into the house’s electrical system.

- Stand-alone, PV-powered devices with small secondary batteries are permitted, but the aggregate battery capacity of these devices may not exceed 100 Wh.

### 8-3.	Desiccant Systems

If a desiccant system is used, it must be regenerative.

- To ensure that the desiccant has been fully regenerated by the conclusion of the Energy Balance Contest, the desiccant material or device must be easily measurable.

- In most cases, the material or device will be measured prior to and at the conclusion of the Energy Balance Contest. In some cases, a measurement at the conclusion of the Energy Balance Contest may not be necessary.

- At the conclusion of the Energy Balance Contest, the weight of the desiccant material or device shall be less than or equal to its initial weight.

- Some desiccant systems with very low moisture storage capacities may be exempt from this requirement. Exemptions will be granted on a case-by-case basis.

### 8-4.	Village Grid

The organizers shall provide the village with an electric power grid that provides AC power to and accepts AC power from the houses.

- The organizers shall provide the necessary service conductors and connect the conductors at the utility intertie point.

- A team shall notify the organizers if its house operates with an AC service other than 50 Hz, 220 V.

- At a date and time specified in Appendix A, teams have the option to switch from stand-alone assembly to grid-tie assembly if all relevant inspections have been passed and the village grid is available. Teams shall not switch back to stand-alone assembly after switching to grid-tie assembly. At a later date and time specified in Appendix A, all teams shall have switched to grid-tie assembly.

### 8-5.	Net Metering Rules

- When a team switches from stand-alone assembly to grid-tie assembly, its bidirectional meter resets to zero.

- If the meter reading is positive (net energy production) at the start of the Energy Balance Contest, the meter is reset to zero. If the meter reading is negative (net energy consumption) at the start of the Energy Balance Contest, the meter is not reset and the team begins the Energy Balance Contest with an energy deficit.

## Rule 9.	Liquids

### 9-1.	Container Locations

- Greywater containers shall be located outside of the finished area. These containers may not be mounted to the underside of the house below the finished area.

- Solar storage, hot water, or other thermal storage containers may be located within the finished square area.

### 9-2.	Water Supply

Tap water (non-drinkable) and drainage access will be provided for each house on the competition site. Teams should submit application for testing water system when the house is ready during assembly phase.

### 9-3.	Greywater Reuse

A team may reuse greywater for irrigation only.

a.	Greywater reuse systems shall comply with rule 7-2.

### 9-4.	Rainwater Collection

A team may collect rainwater that falls on its site and use it in, or as, any of the following:

- Irrigation source

- Water feature

- Heat sink or heat source

### 9-5.	Evaporation

Water may be used for evaporation purposes.

### 9-6.	Thermal Mass

Teams may use liquids as thermal mass.

### 9-7.	Greywater Heat Recovery

Heat may be recovered from greywater as it flows from the drain to the waste tank.

a.	“Batch”-type greywater heat recovery is prohibited.

### 9-8.	Water Removal

Teams are responsible for removing remaining water from the site through drainage access of each house.

## Rule 10.	The Event

### 10-1.  Registration

All Solar Decathlon China event participants must register either through the online registration site, which will be available closer to the event, or on-site.

- The following rules apply to all registrants:

  - Each event participant must register individually. Group registrations are not allowed.

  - Online registration is encouraged for organizers, team members and jurors, because on-site registration could cause delays in gaining event access.

  - When registering, event participants must complete all required information and forms before access to the event is allowed.

- Organizers, team members, and jurors: You will be required to provide a photo that will be kept on file and used for security purposes. We encourage you to avoid delays by using the online registration site and submitting your completed forms, information, and photos prior to the event. Once we receive all of your information, forms, and photos, you will be issued an event security ID that must be presented upon request or visible at all times. Different categories of participants require different types of access (such as to restricted areas or during restricted times).

- Staff and team crew: You are not required to submit a photo. Due to safety concerns, site access for team crew may be restricted.

- Visiting media: You will not be required to submit forms or photos, but you must check in at event headquarters. Due to safety concerns, site access for visiting media may be restricted.

### 10-2.   Event Sponsor Recognition

All communications materials produced by the teams concerning or referring to the project (including team Web sites) shall refer prominently to the project as the “Solar Decathlon China.”

- Teams are required to use the Solar Decathlon China logo is on all communications materials visible on the competition site.

- The Solar Decathlon China logo is the only required graphic elements teams must use.

- Team Web sites shall comply with rule 10-2 with the exception of the one-third size rule for team sponsor text and logos.

- Team uniforms are exempt from rule 10-2. See rule 11-5 for specifics.

### 10-3.   Team Sponsor Recognition

Team sponsors may be recognized with text, logos, or both, but the text and logos must appear in conjunction with the Solar Decathlon China text and logo and be a maximum of one-third of the size of the Solar Decathlon China text and logo, as outlined in the Solar Decathlon China branding guidelines.

- Team Web sites shall comply with rules 10-2 and 10-3, with the exception of the one-third size rule for team sponsor text and logos.

- Rule 10-3 applies but is not limited to all communications materials that will be on display or distributed on the competition site.

- Communications materials or other products that exist largely for the recognition of sponsors are prohibited. “Other products” include but are not limited to signs, exhibits, posters, plaques, photos, wall art, and furnishings.

- For multimedia or audio presentations shown on the competition site, no more than 20% of the total time, 1 minute, or whichever is less may be dedicated to recognition of team sponsors.

- Off-the-shelf components that feature a built-in manufacturer’s logo are acceptable and need not be accompanied by the Solar Decathlon China text and logo.

- Team uniforms are exempt from rule 10-3. See rule 11-5 for specifics.

### 10-4.  Logistics

- Each team is responsible for the transport of its house, the house’s contents, and all necessary tools and equipment, and shall be responsible for any damage to or loss of such items.

- Each team is responsible for procuring all necessary equipment, tools, and supplies.

- The organizers will provide the following for each team member (number of people designated by the organizers)

(i).   Free transportation from Dezhou Railway Station to the lodging places or hotels;

- Free lodgings throughout the assembly, competition and disassembly periods;

- Free food and beverages throughout the assembly, competition and disassembly periods; (iv). Assistance for hotel reservation and other information

### 10-5.  Inspections

Each project shall be inspected for compliance with these rules and the Specified Building Code.

- A team shall notify the appropriate inspector when it is ready for an inspection. When two or more teams request an inspection simultaneously, the order of inspections shall be determined in a drawing.

- Spot checks for compliance shall take place throughout contest week.

- The competition official shall check each team’s inspection status, as indicated on the team’s official inspection card, to determine which houses are eligible to participate in the contests. All final inspections shall be passed by the end of the inspectors’ work day for a team to be eligible to participate in the following day’s contests, which officially start at midnight.

Exception: Jury visits will proceed as scheduled regardless of a team’s inspection status. However, jurors may be aware of the team’s inspection status and may consider it in their evaluations.

- Because open, partially functioning houses are preferable to closed, fully functioning houses, the organizers will direct the inspectors to require that an unsafe condition be corrected so public visits can occur—even if, as a consequence, the house is ineligible for participation in the contests.

### 10-6.   Communications Materials

All communications materials shall support the goal of Contest 4: Communications, which is to educate consumers about the project and topics relevant to the project.

## Rule 11.	Contest Week

### 11-1.   House Occupancy

Under normal circumstances, no more than six people may be located in the house at any one time.

- Toward the end of each day of contest week, the competition official shall post a message on the  Solar Decathlon China Forum/ Weibo indicating the hours during which rule 11-1 is in effect the following day.

- Rule 11-1 is automatically suspended whenever the Comfort Zone Contest measurements are suspended. See Appendix A for the Comfort Zone Contest schedule.

Exception: Rule 11-1 is always in effect for a team when a jury is on the team's site.

- Jurors, observers, official competition photographers and writers, and others with authority to enter a house as an organizer are not counted toward the number of house occupants.

- Up to 10 people may be located in the house during dinner parties. At least six of the people in the house during dinner parties shall be the two decathletes from each of the three guest teams. No more than two of the remaining people in the house may be VIP guests.

- Rule 11-1 remains in effect when jury walkthroughs and contest tasks are occurring simultaneously, unless it has been suspended by a. or b. above.

### 11-2.   House Operators

Only decathletes are permitted to operate the house and participate in the contests during contest week.

a.	All competition-related communications on the competition site shall be between the organizers and decathletes.

Non-decathlete team members and team crew are not permitted to participate in or listen in on these communications.

### 11-3.   Late Design Changes

The final project assembled on the competition site shall be consistent with the design and specifications presented in the as-built drawings and project manual.

- If there are known inconsistencies between the final project and the as-built drawings and project manual, the team is strongly encouraged to document these inconsistencies and submit the documentation to the competition official as soon as possible after the inconsistency is known. The competition official will then submit this documentation or a summary of the documented inconsistencies to the respective juries and inspectors at the appropriate time.

- If undocumented inconsistencies are discovered during inspections, the competition official will compile a summary of the inconsistencies and submit the summary to the respective juries at the appropriate time.

### 11-4.   Public Exhibit

- Teams are required to provide an accessible route to all areas of the house and site that are available to the public during exhibit hours.

- Teams are permitted to produce and distribute only one informational brochure or handout at the competition site.

- Teams shall develop signage that complements public exhibit tours by informing visitors about the team project and engaging visitors waiting in line.

- Teams are prohibited from selling items to the general public on the competition site.

- Only organizer-approved vendors may provide food and beverage to the general public on the competition site.

### 11-5.   Team Uniforms

- During contest week and special events specified by the organizers, all team members present on the competition site or the site of a special event shall wear uniforms representing their team.

- Team uniforms are exempt from rules 10-2 and 10-3.

- Team sponsor logos are approved to be visible ONLY on the back of the team uniform (jacket, shirt, hat, or other wearable item).

- The only information or graphics that are approved to be visible from the front of the team uniform (jacket, shirt, hat, or other wearable item) shall be the institution and its logo, the team name and logo, the Solar Decathlon China logo, and event sponsor logos.

- A built-in clothing manufacturer logo may be visible on the front or back of the team uniform, or both.

### 11-6.  Impound

Each house shall be impounded on specified nights under the direct supervision of the organizers or staff. Team members and team crew shall not occupy the site during impound hours.

There is a 10-minute impound grace period on nights during which Subcontest 9-1 is active.

## Rule 12.	Cost

Teams will need to submit construction specifications with estimated construction costs in project manual and project budget and accounting in project summary.

### 12-1.   Construction Cost

Teams should include construction cost report in construction specifications. It should be able to provide a residential contractor with all the information needed to generate an accurate, detailed cost estimate and to efficiently construct the building as the design team intended it to be built. The construction specifications will be provided to market appeal juries and some of the information will be made available to the public.

The construction cost report should contain construction process and itemized cost information about the house, including but not limited to: floor, wall, and roof construction; insulation; electrical and plumbing systems; HVAC system and duct work; PV system and balance of system; water heating and balance of system; windows; shading (interior and exterior); interior features such as flooring, wall, and ceiling materials and finishes, cabinets, and fixtures; appliances and electronics; lighting (interior and exterior); exterior finishes; roofing materials; and anything else a visitor to the house could see or notice.

### 12-2.   Project Cost

The cost report should provide detailed and itemized cost information about the overall Project, including, but not limited to: fund raising, sponsor solicitation, promotional, advertising, communications and outreach efforts; educational materials; labor (not volunteer labor); travel, accommodation, and travel per diem; space, tool, machinery, and other equipment purchases or rental fees; freight, delivery, and transportation charges. Teams will not be judged on the costs of their Projects.

# SECTION III:	CONTEST CRITERIA

The Solar Decathlon China competition consists of 10 separately scored contests, and some contests contain one or more subcontests. For example, Contest 7: Appliances consists of six separately scored subcontests. The team with the highest total points at the end of the competition wins. Table 2 shows the competition structure.

Table 2: Competition structure

| Contest Number | Subcontest Number | Contest Name | Available Points | Subcontest Name | Available Points | Contest or Subcontest Type | Brief Description |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | n/a | Architecture6 | 100 | n/a | n/a | Juried | Architecture Jury reviews and evaluates the drawings, construction specifications, audiovisual presentation, architecture narrative, and final constructed project |
| 2 | n/a | Market Appeal | 100 | n/a | n/a | Juried | Market Appeal Jury reviews and evaluates the drawings, construction specifications, audiovisual presentation, market appeal narrative, and final constructed project |
| 3 | n/a | Engineering | 100 | n/a | n/a | Juried | Engineering Jury reviews and evaluates the drawings, construction specs, energy analysis results and discussion, audiovisual presentation, engineering narrative and final constructed project |
| 4 | n/a | Communications | 100 | n/a | n/a | Juried | Communications Jury reviews and evaluates the team website, audiovisual presentation, communications narrative, onsite public exhibit, and public exhibit materials |
| 5 | n/a | Innovation | 100 | n/a | n/a | Juried | Innovation Jury reviews the drawings, construction specifications, and final constructed project to estimate construction costs |
| 6 | 6-1 | Comfort Zone | 100 | Temperature | 75 | Measured ¦ Monitored | Keep zone temperature in 71°F – 76°F (22°C – 24°C) range |
|  | 6-2 |  |  | Humidity | 25 | Measured ¦ Monitored | Keep zone relative humidity below 60% |
| 7 | 7-1 | Appliances | 100 | Refrigerator | 10 | Measured ¦ Monitored | Keep refrigerator temperature in 34°F – 40°F (1°C – 4°C) range |
|  | 7-2 |  |  | Freezer | 10 | Measured ¦ Monitored | Keep freezer temperature in -20°F – 5°F (-29°C to - 15°C) range |
|  | 7-3 |  |  | Clothes Washer | 16 | Measured ¦ Task | Successfully wash eight loads of laundry (one load = six bath towels) during contest week |
|  | 7-4 |  |  | Clothes Drying | 32 | Measured ¦ Task | Return eight loads of laundry to their original weight (one load = six bath towels) during contest week |
|  | 7-5 |  |  | Dishwasher | 17 | Measured ¦ Task | Successfully wash five loads of dishes (one load = eight place settings) during contest week |
|  | 7-6 |  |  | Cooking | 15 | Measured ¦ Task | Successfully perform five cooking tasks (one task = vaporize 5 lb of water in less than 2 hours) during contest week |
| 8 | 8-1 | Home Life | 100 | Lighting | 25 | Measured ¦ Task | All interior and exterior lights on at full levels at night |
|  | 8-2 |  |  | Hot Water | 50 | Measured ¦ Task | Successfully conduct 16 water draws during contest week [one water draw = deliver 15 gal (56.8 L) of water at average 110°F (43°C) temperature within 10 minutes] |
|  | 8-3 |  |  | Home Electronics | 10 | Measured ¦ Task | Operate a TV and computer during specified hours |
|  | 8-4 |  |  | Dinner Party | 10 | Measured ¦ Task | Host two dinner parties for up to eight guests |
|  | 8-5 |  |  | Movie Night | 5 | Measured ¦ Task | Host neighbors to watch a movie on the home theater system |
| 9 | n/a | Commuting | 100 | n/a | n/a | Measured ¦ Task | Drive an electric vehicle at least 25 miles, eight times during contest week |
| 10 | 10-1 | Energy Balance | 100 | Energy Production | 50 | Measured ¦ Monitored | Produce at least as much electrical energy (kWh) as is consumed during contest week |
|  | 10-2 |  |  | Energy Consumption | 50 | Measured ¦ Monitored | Consume less than 350 kWh of electrical energy during contest week |
| TOTALS |  |  | 1,000 | 500 total juried points and 500 total measured points from 21 individually scored contest elements |  |  |  |

6 Lighting quality and lighting control evaluations are conducted by the Architecture, Market Appeal, and Engineering juries.

There are three ways to earn points:

- Jury evaluation

- Task completion

- Monitored performance.

Subcontests based on task completion or monitored performance are called measured subcontests.

Points for task completion, or measured performance, are awarded as a function of “closeness to completion.” Points for measured performance are either awarded at the end of each scored period throughout contest week or at the conclusion of contest week when performance requirements are met or partially met.

The scoring of the juried contests is more flexible than the scoring of the measured subcontests described above. However, for the sake of fairness, consistency is important. To increase the consistency of the scoring in juried contests, the jurors shall use the evaluation method described in Appendix B-1.

## Contest 1. Architecture

A jury of architects shall assign an overall score for the design’s architectural conceptual coherence, merit, integration and implementation by reviewing the team’s drawings, construction specifications, audiovisual presentation, and architecture narrative (see Appendix D), and by performing an on-site evaluation of the competition prototype (see Appendix B).

The jury shall consider the following specific criteria in its evaluation:

### Architectural Concept and Design Approach

- How well did the team utilize an overall clear concept, idea or ideas to guide the development of the whole design process?

- How well does the competition prototype house demonstrate overall coherence among architectural, structural, mechanical, electrical, plumbing, landscaping, and other related disciplines?

- How effectively will the overall architectural design offer a sense of inspiration and delight to Solar Decathlon China visitors?

### Architectural Implementation and Innovation

- To what degree was the team effective in its use of architectural elements including, but not limited to: scale and proportion, indoor/outdoor connections, composition, and linking of various house elements?

- How effectively did the team create a holistic and integrated design, inclusive of space, structure and building envelope, that will be comfortable for occupants and compatible with the surrounding environment in the target market climate?

- How well does the team integrate both natural and electric lighting into the competition prototype? For instance, are the lighted spaces rich and varied? Do they have adequate light for tasks? Do they have good color rendition? Do the luminaires properly distribute light? Is the admission of direct and diffuse sunlight effectively controlled?

- How well does the competition prototype demonstrate quality design through material selection, well- conceived details, and architectural implementation?7

- To what extent does the competition prototype take an innovative approach to addressing residential architecture?

### Documentation

- How effectively did the drawings, construction specifications, audiovisual presentation, and architecture narrative enable the jury to conduct a preliminary evaluation of the design prior to its arrival at the competition site?

7 The jury should consider the design, detailing and implementation from the perspective of a professionally constructed house. Student-built or installed elements should be evaluated as if they were professionally built and installed.

- How well do the drawings, construction specifications, and audiovisual presentation accurately reflect the constructed project as assembled on the competition site?

## Contest 2. Market Appeal

A jury of professionals from the homebuilding industry shall assign an overall score for the house’s market appeal by reviewing the team’s drawings, construction specifications, audiovisual presentation, and market appeal narrative (see Appendix D), and by performing an on-site evaluation of the competition prototype (see Appendix B).

The jury shall consider the following specific criteria in its evaluation of the responsiveness of the design to the characteristics and requirements of a team-defined target client (see Table 3 for examples of target client characteristics and requirements, which shall be included in the Market Appeal jury narrative and project summary).

Teams shall define their target client with a minimum level of specificity as indicated in Table 3. The target market defined for the competition prototype house must be a primary residence intended for year-round occupancy.

### Livability

- How well does the design offer the intended occupant(s) a safe, functional, convenient, comfortable, and enjoyable place to live?

- How appropriate is the operation of the house’s lighting, entertainment, and other controls for the target client?

- How successfully does the design meet the unique needs and desires of the target client?

### Marketability

- How successfully does the house demonstrate exterior and interior appeal for the target client?

- How appropriate are the material, equipment, and detailing choices to the desires of the target client?

- How effectively does the team use sustainability features and strategies to make a positive contribution to the house’s marketability to the target client?

- To what extent does the house offer a good value to the target client?

### Buildability

- How effectively do the drawings and construction specifications enable, through sufficient quality and detail, a contractor to generate an accurate, detailed construction cost estimate?

- How effectively do the drawings and construction specifications enable, through sufficient quality and detail, a contractor to construct the building as the design team intended it to be built?

Table 3: Examples of target client characteristics and requirements

| Characteristic or Requirement | Example #1 | Example #2 | Example #3 |
| --- | --- | --- | --- |
| Location of permanent site | Minot, ND | Shenyang, China | Marseilles, France |
| Housing type | Remote worker housing | Unit of Multifamily | Single family |
| # of occupants | 2 | 3 | 1 |
| Client demographic | Working professionals | Mid-40s married couple with child | Retired individual |
| Client annual income | $85,000 | $20,000 (125,000 RMB) | $65,000 |
| # of bedrooms | 2 | 3 | 1 |

Notes:

  - These examples show the minimum required level of detail for the target client characteristics and requirements.

  - The target client characteristics and requirements shall be included in the project manual and project summary (see Appendix D).

## Contest 3. Engineering

A jury of engineers shall assign an overall score for the design’s engineering merit and implementation by reviewing the team’s drawings, construction specifications, energy analysis, audiovisual presentation, and engineering narrative (see Appendix D), and by performing an on-site evaluation of the competition prototype (see Appendix B).

The jury shall consider the following specific criteria in its evaluation:

### Innovation

- To what extent were unique approaches used to solve engineering design challenges?

- To what extent do the proposed innovations have true market potential?

- How well does the design demonstrate market-leading technologies and engineering integration?

### Functionality

- How well do the house systems function to enhance occupant comfort and house performance?

- How well will the HVAC system as designed maintain uniform thermal comfort conditions via temperature control, humidity control, air movement, and a successful distribution system design?

- How effective is the design of the HVAC system and thermal envelope in minimizing energy use while ensuring occupant comfort, including indoor air quality?

### Efficiency

- To what extent does the team consider energy efficiency and overall system performance as part of the competition prototype design? Relative to conventional systems, how much energy is the design expected to save over the course of an entire year?

- How effectively will house controls facilitate a reduction in energy consumption during an entire year of operation?

- How effective, efficient and practical is the design in its engineering approach?

### Reliability

- How well does the design address maintenance and owner operation of house systems?

- How long are the systems expected to operate at a high level of performance?

### Documentation

- How effectively did the drawings, construction specifications, energy analysis results and discussion, and audiovisual presentation enable the jury to conduct a preliminary evaluation of the design prior to its arrival at the competition site?

- How well do the drawings, construction specifications, energy analysis results and discussion, and audiovisual presentation accurately reflect the constructed project as assembled on the competition site?

## Contest 4. Communications

A jury of communications professionals will evaluate and assign an overall score for the team’s communications efforts by reviewing the quality, delivery, and innovation of each team’s final electronic communications, communications narrative, and audiovisual presentation (see Appendix D), and by evaluating the public exhibit materials, public exhibit, and communications summary presentation onsite (see Appendix B). The Communications Contest is designed to ensure that each team’s communications materials educate the public about its project.

The jury will consider the following specific criteria:

### Communications Strategy

- How well did the team’s communications deliverables work together to convey a comprehensive, consistent, and integrated communications strategy?

- How effective are the team’s educational and outreach messages about the Solar Decathlon China, the team, and the competition prototype house?

### Electronic Communications (team website and social media)

- How well does the team communicate its messages to online audiences?

- How well do the website’s graphical elements and information architecture support a logical, consistent, enjoyable and successful user experience?

- How well does the team employ social media to achieve comprehensive and successful communications outreach?

### Public Exhibit Materials (on-site signage and handout)

- How well do the signage and handout communicate the team’s messages to visitors?

- How creative, original and informative are the team’s public exhibit materials?

- How well does the team’s handout align with its communications objectives as stated in the narrative?

### Public Exhibit Presentation

- How informative, interesting, engaging, and audience-appropriate was the team’s comprehensive tour?

- How effective was the team at describing their approach for an informative, interesting, engaging and audience- appropriate fast tour designed to accommodate large crowds and long lines?

### Audiovisual Presentation

- How interesting and informative was the audiovisual presentation of the team’s house?

- How well does the audiovisual presentation explain to viewers what they’re seeing and the philosophy behind the house design?

- How effectively does the audiovisual presentation showcase the completed, constructed as-built house as presented on the competition site?

## Contest 5. Innovation

A jury of industry professionals shall assign an overall score for the team’s innovation in concept, approach, research, design, implementation and execution. The jury will consider the submitted deliverables (see Appendix D), and perform an on-site evaluation of the competition prototype (see Appendix B). 9

The jury shall consider the following specific criteria in its evaluation:

### Innovation

- To what extent does the design utilize innovations, or innovative approaches, to satisfy an existing market need or desire?

- To what extent do the innovations have immediate and long-term environmental, social, cultural and commercial potential?

- To what extent does the team utilize holistic active and passive solutions that could impact the livability of the house or lifestyle of the occupant(s)?

- To what extent does the design solution utilize new, unique or atypical technologies that improve upon the status- quo?

- To what extent does the team’s approach to innovation relate to the team mission, strategies, or goals?

### Research

- To what extent did the team use research processes to develop or decide on design solutions?

- How successfully did the team utilize discovery, prototyping, analysis or collaboration in the design process?

### Sustainability

- How well does the team integrate innovative sustainable design, detail, product and performance decisions into the competition prototype house?

- To what extent did the team holistically integrate passive strategies, materials selection, life-cycle, and local strategies to maximize sustainability?

#### Durability and Safety

- To what extent will the innovations endure relative to the anticipated life-cycle of the house?

- To what extent do the innovations improve or maintain the safety of occupants of the house?

## Contest 6. Comfort Zone

## 6-1.	Temperature

All available points are earned at the conclusion of each scored period by keeping the time-averaged interior dry- bulb temperature between 71.0°F (21.7°C) and 76.0°F (24.4°C) during the scored period. See Appendix A-3 for the schedule of scored periods and for the number of available points per scored period.

- Reduced points are earned if the time-averaged interior dry-bulb temperature is between 67.0°F (19.4°C) and 71.0°F (21.7°C) or between 76.0°F (24.4°C) and 80.0°F (26.7°C). Reduced point values are scaled linearly, as shown in Figure 4.

Points per scored period

The zone temperature deviating farthest from the target temperature range is the zone temperature of record. The organizers will identify at least two thermal zones in each house and measure the temperature of each zone.

64	66	68	70	72	74	76	78	80	82

Full points:	71 °F  (22 °C)  ≤   Temperature  ≤   76 °F  (24  °C)

Reduced points:	67 °F  (19 °C)  <   Temperature  <   71 °F  (22  °C)

or	76 °F  (24 °C)  <   Temperature  <   80 °F  (27  °C)

No points:

Temperature  ≤   67 °F  (19 °C)

or

Temperature  ≥   80 °F  (27 °C)

Zone temperature (°F)

### Figure 4: Scoring function for the Temperature Subcontest

## 6-2.	Humidity

All available points are earned at the conclusion of each scored period by keeping the time-averaged interior relative humidity below 60.0% during the scored period. See Appendix A-3 for the schedule of scored periods and for the number of available points per scored period.

- Reduced points are earned if the time-averaged interior relative humidity is between 60.0% and 70.0%. Reduced point values are scaled linearly, as shown in Figure 5.

- In multi-zone houses, the zone humidity deviating farthest from the target humidity range is the zone humidity of record.

Full points:

Relative humidity  ≤  60 %

Reduced points:	60 % <   Relative humidity  <   70 %

No points:

Relative humidity  ≥  70 %

Points per scored period

0	10	20	30	40	50	60	70	80	90    100

Zone relative humidity (%)

### Figure 5: Scoring function for the Temperature Subcontest

## Contest 7. Appliances

## 7-1.	Refrigerator

All available points are earned at the conclusion of each scored period by keeping the time-averaged interior temperature of a refrigerator between 34.0°F (1.11°C) and 40.0°F (4.44°C) during the scored period. See Appendix A-3 for the schedule of scored periods and for the number of available points per scored period.

- Reduced points are earned if the time-averaged interior refrigerator temperature is between 32.0°F (0.00°C) and 34.0°F (1.11°C) or between 40.0°F (4.44°C) and 42.0°F (5.56°C). Reduced point values are scaled linearly, as shown in Figure 6.

- The refrigerator volume published in the manufacturer’s specifications shall be a minimum of 6.0 ft3 (170 L).

- The refrigerator may be used to store food and beverages.

Points per scored period

Full points:	34 °F  (1.1 °C)  ≤  Temperature  ≤   40 °F  (4.4  °C)

Reduced points:	32 °F	(0 °C)  <  Temperature  <   34 °F  (1.1 °C)

or	40 °F  (4.4 °C)  <  Temperature  <   42 °F  (5.6  °C)

No points:

Temperature  ≤  32 °F	(0 °C)

or

Temperature  ≥   42 °F  (5.6 °C)

30	32	34	36	38	40	42	44

Refrigerator temperature (°F)

### Figure 6: Scoring function for the Refrigerator Subcontest

## 7-2.	Freezer

All available points are earned at the conclusion of each scored period by keeping the time-averaged interior temperature of a freezer between -20.0°F (-28.9°C) and 5.0°F (-15.0°C) during the scored period. See Appendix A- 3 for the schedule of scored periods and for the number of available points per scored period.

- Reduced points are earned if the time-averaged interior freezer temperature is between -30.0°F (-34.4°C) and -20.0°F (-28.9°C) or between 5.0°F (-15.0°C) and 15.0°F (-9.44°C). Reduced points are scaled linearly, as shown in Figure 7.

- The freezer volume published in the manufacturer’s specifications shall be a minimum of 2.0 ft3  (57 L).

- The automatic defrost function may be disabled.

- The freezer may be used to store food and only enough ice to fill the freezer’s ice bin (or equivalent).

Points per scored period

Full points:    -20 °F  (-29 °C)  ≤   Temperature ≤	5 °F   (-15  °C)

Reduced points:    -30 °F  (-34 °C)  <  Temperature  <   -20 °F   (-29  °C)

or	5 °F  (-15 °C)  <  Temperature  <    15 °F  (-9.4  °C)

No points:

Temperature  ≤   -30 °F   (-34 °C)

or

Temperature  ≥    15 °F  (-9.4 °C)

-40	-30	-20	-10	0	10	20

Freezer temperature (°F)

### Figure 7: Scoring function for the Freezer Subcontest

## 7-3.	Clothes Washer

All available points are earned for washing laundry by running a clothes washer through one or more complete, uninterrupted, “normal” (or equivalent) cycles within a specified period of time. See Appendix A-3 for specific details regarding the number of points per clothes-washing task and the time periods designated for clothes-washing tasks.

- A load of laundry is defined as six organizer-supplied bath towels.

- The clothes washer shall operate automatically and have at least one wash and rinse cycle.

- One or more complete, uninterrupted, “normal” (or equivalent) cycles in an automatic clothes washer shall be used to wash the laundry.

- On several days during contest week, two loads of laundry are required to be washed. Teams have the option to combine double loads and wash them in one clothes washer cycle.

- The drying function in a combination washer/dryer shall be disabled until the observer can verify that the laundry is wet after the completion of the wash and rinse cycle.

- Cycle “interruption” includes the adjustment of supply temperature or flow in a manner not anticipated by the manufacturer or addressed in its operation manual.

- Cycle completion shall be confirmed by the observance of an audible or visible signal.

- The organizers will consult the operation manual to identify appropriate cycle settings. “Normal” or “regular” settings shall be selected, if available. Otherwise, settings most closely resembling typical “normal” or “regular” settings shall be selected.

## 7-4.	Clothes Drying

All available points are earned by returning a load of laundry (defined as six organizer-supplied bath towels) to a total weight less than or equal to the towels’ total weight before washing. Clothes drying shall be completed within a specified period of time. See Appendix A-3 for specific details regarding the number of points per clothes drying task and the time periods designated for laundry tasks.

- Reduced points are earned if the “dry” towel weight is between 100.0% and 110.0% of the original towel weight. Reduced point values are scaled linearly, as shown in Figure 8.

- A load of laundry is eligible for clothes-drying points only if the load experienced a complete, uninterrupted cycle (see Contest 7-3h for required cycle settings) in an automatic clothes washer.

- The drying method may include active drying (e.g., machine drying), passive drying, (e.g., on a clothesline), or any combination of active and passive drying. All drying methods that require the towels to be visible (such as on a clothesline) must be demonstrated to the Architecture and Market Appeal juries as they visit the houses.

- On several days during contest week, two loads of laundry are required to be dried. Teams have the option to combine double loads and dry them in one clothes-drying cycle, but each load will be scored separately.

Points per clothes drying task

Full points:

% of original weight   ≤ 100

Reduced points:	100 <    % of original weight   < 110

No points:

% of original weight   ≥ 110

90	100	110	120

% of original weight

### Figure 8: Scoring function for the Clothes Drying Subcontest

## 7-5.	Dishwasher

All available points are earned by running a dishwasher through a complete, uninterrupted, “normal” (or equivalent) cleaning cycle within a specified period of time, during which a temperature sensor placed in the dishwasher must reach 120°F (48.9°C) at some point during the cycle. See Appendix A-3 for specific details regarding the number of points per dishwashing task and the time periods designated for dishwashing tasks.

- Half of the available points are earned if the temperature sensor reaches 115°F (46.1°C), but does not reach 120°F (48.9°C).

- For redundancy, two temperature sensors shall be placed in the dishwasher for each test. The higher of the two readings is the temperature of record, unless it is determined that the sensor with the higher reading is defective, in which case the lower of the two readings is the temperature of record.

- The dishwasher shall operate automatically, have at least one wash and rinse cycle, and have a minimum capacity of eight place settings according to the manufacturer’s specifications.

- If the dishwasher has a heated drying option, this option shall be disabled.

- Cycle “interruption” includes the adjustment of supply temperature or flow in a manner not anticipated by the manufacturer or addressed in its operation manual, including the disruption of an ordinary cycle due to user interaction.

- Cycle completion shall be confirmed by the observance of an audible or visible signal.

- The teams shall consult the operation manual to identify appropriate cycle settings. The setting chosen shall be a complete wash cycle. “Normal” or “regular” settings shall be selected, if available. Otherwise, settings most closely resembling typical “normal” or “regular” settings shall be selected.

- The dishwasher may be run empty, partially loaded, or fully loaded; the load may be soiled or clean.

## 7-6.	Cooking

All available points are earned by using a kitchen appliance to vaporize 5.000 lb (80.00 oz or 2.268 kg) of water within a specified period of time. See Appendix A-3 for specific details regarding the number of points per cooking task and the time periods designated for cooking tasks.

- Reduced points are earned if between 1.000 lb (16.00 oz or 0.454 kg) and 5.000 lb (80.00 oz or 2.268 kg) are vaporized. Reduced point values are scaled linearly, as shown in Figure 9.

- Any kitchen appliance may be used, but it must operate in its normal configuration as it is vaporizing the water.

- The water shall be vaporized in a single container and the starting water weight shall be at least 6.000 lb (96.00 oz or 2.721 kg).

Points per cooking  task

Full points:

Weight  ≥   80 oz   (2300 g)

Reduced points:	16 oz   (450 g)  <   Weight  <   80 oz   (2300 g)

No points:

Weight  ≤  16 oz	(450 g)

0	10	20	30	40	50	60	70	80	90    100

Weight of vaporized  water (oz)

### Figure 9: Scoring function for the Cooking Subcontest

## Contest 8. Home Life

## 8-1.	Lighting

All available points are earned for keeping all interior and exterior house lights on during specified periods of time. See Appendix A-3 for specific details regarding the number of points per lighting task and the time periods designated for lighting tasks.

Exception: Lights located within manufactured residential appliances such as a refrigerator, clothes dryer, microwave, and oven that are intended to illuminate the interior of the appliance are not required to be illuminated. Lights that are not designed to be connected to the house electrical system are not required to be illuminated.

- All dimmers shall be adjusted to their highest positions and all other lighting control equipment shall be disabled or overridden so that the controlled lamps are fully and continuously on during the specified periods.

- Partial credit will be awarded for partial compliance.

## 8-2.	Hot Water

Hot water draws will occur at the approximate times specified in Appendix A-3. For each draw, at least 15 gal (56.8 L) of hot water shall be delivered in no more than 10 minutes to qualify for points. All available points are earned by delivering an average temperature of at least 110°F (43.3°C). An average temperature below 100°F (37.8°C) earns no points. For temperatures between 100°F (37.8°C) and 110°F (43.3°C), points are scaled linearly, as shown in Figure 10.

- These hot water draws are designed to simulate most of the washing and bathing tasks that would take place in a typical day. Note: The dishwashing task is not simulated by these hot water draws because it occurs in a different contest.

- The schedule for hot water draws will vary from one day to the next, just as it does in a typical home.

- The maximum number of hot water draws for one day will not exceed three, but they may occur consecutively.

- For fairness, all teams will be drawing hot water on nearly identical schedules.

- Hot water will be drawn from the shower. Teams shall replace their showerhead with an organizer-supplied fitting prior to the start of the contest. If a house has multiple showers, the shower expected to be used most frequently by the occupants will be used for the hot water draws.

- Teams shall provide a male, 0.5 in. (1.27 cm) National Pipe Thread Tapered Thread (NPT) to accept the organizer equipment.

Points per hot water draw

Full points:

Temperature  ≥   110 °F   (43.3 °C)

Reduced points:	100 °F   (37.8 °C)  <   Temperature  <   110 °F   (43.3 °C)

No points:

Temperature  ≤   100 °F   (37.8 °C)

90	100	110	120

Hot water draw temperature (°F)

### Figure 10: Scoring function for the Hot Water Contest

## 8-3.	Home Electronics

All available points are earned for operating a television (TV) and computer during specified periods of time. See Appendix A-3 for specific details regarding the number of points per home electronics task and the time periods designated for home electronics tasks.

- The TV display shall be a minimum of 27 in. (68.6 cm) according to the manufacturer’s stated display size. The computer display shall be a minimum of 15 in. (38.1 cm) according to the manufacturer’s stated display size. The computer may be a laptop or desktop computer. The TV and computer displays shall be able to be operated simultaneously and controlled independently of each other.

- The organizers will supply content that must be shown on the TV display during the home electronics tasks. There is no required volume setting, but the brightness of the display shall be set to at least 75% of maximum. Observers will conduct spot checks to verify that the TV is showing the supplied content and that the brightness is at the required level.

- The organizers will supply content that must be shown on the computer display during the scored periods. A decathlete may temporarily suspend the supplied content to use the computer for other practical purposes, but the display of supplied content shall be resumed whenever the computer is not being used for other practical purposes. The brightness of the display shall be set to at least 75% of maximum. Observers will conduct spot checks to verify that the computer is either showing the supplied content or is being used by a decathlete, and that the brightness is at the required level.

## 8-4.	Dinner Party

Each team shall host two dinner parties for its neighbors during contest week. See Appendix A-3 for the dinner party schedule and the number of available points per dinner party. Dinner parties will feature a pair of guest decathletes from each of three competing teams. To earn full points for the dinner party, teams shall:

- Host at least eight individuals for the dinner party—two decathletes from each of three other teams and up to two VIP guests. VIP guests may include organizers, media, government employees, family members, or other individuals approved by the organizers to attend the dinner parties. If VIP guests do not participate, at least two host team decathletes shall participate in the dinner party.

- Meet all house occupancy rules described in Rule 11-1c for the dinner party.

- Have two decathletes attend each of the assigned houses for the duration of the dinner party period as indicated in Appendix A-3. While in attendance, decathletes shall participate in the meal and act respectfully.

- Serve a complete meal with an adequate amount of food for all guests, at appropriate serving temperatures, and in a timely manner within the dinner party period as indicated in Appendix A-3.

- Serve a unique meal at each dinner party.

- Ensure that team decathletes in the house during the dinner party are performing one or more of the following three functions: 1) eating the meal; 2) cooking/preparing the food; or 3) operating the house during scheduled Contest 6, 7, or 8 activities.

- Prepare and cook all food and beverages in the house during the period of time indicated in Appendix A-3. A file describing eligible and ineligible ingredients is posted in the “/Files/Rules/Rules Reference Documents” folder on the Yahoo Group.

- Serve and have guests eat the meal in the finished square footage at the eating area designated in the drawings.

- Submit to the organizers detailed dinner party menus, recipes, and ingredient lists that accurately reflect the meal served for each dinner party.

- Shall comply with the following safety requirements:

  - The use of flames, including candle flames, is prohibited during contest week (see Rule 8-2b).

  - No alcoholic beverages may be stored in the house, used in meal preparation, served, or part of a meal in any way.

  - All water used for cooking and drinking shall be drinking water purchased in sealed containers.

  - Prior to use for the Dinner Party, all dishes and cookware shall be washed with hot water and soap and rinsed prior to use.

  - Normal domestic wastewater may go into the wastewater tank.

  - All beverages and food must be stored properly and according to the instructions on the packaging, e.g., beverages and foods marked “refrigerate after opening” must be refrigerated appropriately after opening.

  - To help prevent allergic reactions among dinner party guests, teams shall create a list of ingredients for each of the items being served at each meal. Common food allergies include milk/dairy products, eggs, peanuts, tree nuts (walnuts, cashews, pecans), fish, shellfish, soy, wheat, and gluten.

  - Outdoor cooking and grilling equipment may be incorporated into the competition prototype, but the use of such equipment is prohibited on the competition site.

  - The use of coolers to store food, beverages, or ice associated with the dinner party on site is not permitted. Coolers may be used for transporting food to the competition site only.

## 8-5.	Movie Night

Each team shall host a movie night for its neighbors during contest week. See Appendix A-3 for the movie night schedule and the number of available points for movie night. To earn full points for the movie night, teams shall:

- Host at least eight individuals for the movie night—two decathletes from each of three other teams and up to two VIP guests. VIP guests may include organizers, media, government employees, family members, or other individuals approved by the organizers to attend the dinner parties.

- Have two decathletes attend each assigned house for the duration of the movie night period as indicated in Appendix A-3. While in attendance, decathletes shall participate and act respectfully.

- Vote for one of three movies selected by the organizers via the poll to be sent out via email prior to the event. The movie receiving the most votes shall be provided by the organizers on the day of movie night and shall be the movie shown in all houses on movie night. The selected movie shall be available in several of the most popular video formats, so that each team may request the format most suitable for its home theater system.

- Maintain normal audiovisual equipment settings throughout the duration of the subcontest. Observers or a small team of organizers, or both, will verify that these settings are maintained on movie night.

## Contest 9. Commuting

Electric vehicle driving tasks will occur at the approximate times specified in Appendix A-3. Teams shall complete each task in no more than 60 minutes to qualify for points. All available points are earned by driving at least 25 miles (40.23 kilometers). For driving between 0 miles and 25 miles (40.23 kilometers), points for each task are scaled linearly, as shown in Figure 11.

- These driving tasks are designed to simulate most of the transportation requirements that would take place for a household.

- The schedule for the commuting tasks varies from one day to the next.

- The vehicle must meet the requirements of Rule 4-8.

- The vehicle must be driven by a decathlete who is licensed to operate a motor vehicle and accompanied by at least one passenger, who shall also be a decathlete.

- Both the driver and the passenger must wear a seat belt and follow all applicable driving laws.

- The electric vehicle may only be charged from the house electrical system. Any charging from alternate locations is considered a rules violation.

Points per scored task

| Full Points: |  | Miles Driven ≥ | 25 miles |
| --- | --- | --- | --- |
| Reduced Points: | 0 miles | < Miles Driven < | 25 Miles |
| No Points: |  | Miles Driven = | 0 Miles |

0	5	10	 15	  20	    25	     30	     35	40

Miles Driven for Task

### Figure 11: Scoring function for the Commuting Contest

## Contest 10. Energy Balance

## 10-1.   Energy Production

All available points are earned at the conclusion of the specified energy balance period (see Appendix A-3 for the energy balance schedule) for a net electrical energy balance of at least 0 kWh. A positive net electrical energy balance indicates net production; a negative net electrical energy balance indicates net consumption.

a.	Reduced points are earned for a net electrical energy balance between -50 kWh and 0 kWh. Reduced points are scaled linearly, as shown in Figure 12.

Points at conclusion of Energy

Production Subcontest

Full points:

Net electrical energy  ≥	0 kWh

Reduced points:	-50 kWh  <    Net electrical energy  <	0 kWh

No points:

Net electrical energy   ≤    -50 kWh

100

80

60

40

20

0

-75                 -50	                -25	                   0	                 25

Net Electrical Energy (kWh)

### Figure 12: Scoring function for the Energy Production Subcontest

## 10-2.   Energy Consumption

All available points are earned at the conclusion of the specified energy balance period (see Appendix A-3 for the energy balance schedule) for a measured consumption of 350 kWh or less.

- Reduced points are earned for measured electrical energy consumption between 175 kWh and 300 kWh. Reduced points are scaled linearly, as shown in Figure 13.

| Full points: | Electrical Energy Consumed | ≤ 350 kWh |
| --- | --- | --- |
| Reduced points: | 350 kWh < Electrical Energy Consumed | < 600 kWh |
| No points: | Electrical Energy Consumed | ≥ 600 kWh |

100

80

60

40

20

0

300	400	500	600	700

Electrical  Energy Consumed (kWh)

### Figure 13: Scoring function for the Energy Consumption Subcontest

# Appendix A: Event Schedules

## A-1.	Overview Event Calendar

This calendar provides an overview of daily activities refer to the Detailed Event Schedule(Appendix A-3) for a complete list and schedule of daily activities.

# Appendix B: Juried Subcontest Guidelines

## B-1.	Juror Guidelines

A jury’s evaluation of each team’s project consists of the following three phases:

  - Deliverables review

  - On-site walkthroughs

  - Deliberation

### Table 5: Juror time commitments for deliverables review and on-site walkthroughs

| Jury | Time Commitment for Deliverables Review (per team) | Relevant Deliverables for Review | Time Commitment for On-site Walkthrough (per team) |
| --- | --- | --- | --- |
| Architecture | 20 to 30 minutes | - Drawings3 - Construction specifications4 - Audiovisual architecture presentation5 | 30 minutes |
| Market Appeal | 1 to 2 hours | - Drawings3 - Construction specifications4 - Audiovisual sales presentation5 | 30 minutes |
| Engineering | 1 to 2 hours | - Drawings3 - Construction specifications4 - Energy analysis results and discussion6 - Audiovisual engineering presentation5 | 30 minutes |
| Communications | 1 to 2 hours | - Web site7 - Video walkthrough8 - Public exhibit presentation and materials9 | 30 minutes |
| Solar Application | 1 to 2 hours | - Drawings3 - Construction specifications4 - Energy analysis results and discussion8 - Audiovisual solar application presentation5 | 30 minutes |

#### Phase 1: Deliverables Review

The deliverables review offers each juror an opportunity to explore the relevant details of each team’s project via the deliverables outlined in Table 5. If questions arise during the deliverables review phase, jurors may address those questions to the appropriate contest official before or during the event.

3 See Appendix D-3 for drawings requirements.

4 The construction specifications are located in the project manual. See Appendix D-4 for project manual requirements.

5 See Appendix D-5 for audiovisual presentation requirements.

6 The energy analysis results and discussion is located in the project manual. See Appendix D-4 for project manual requirements.

7 See Appendix E-1 for Web site requirements.

8 See Appendix E-3 for video walkthrough requirements.

9 See Appendix B-3 for public exhibit presentation requirements and Appendix E-6 for public exhibit materials requirements.

#### Phase 2: On-site Walkthroughs

The on-site walkthroughs take place on the competition site and offer the jurors an opportunity to make visual verifications of information presented in the deliverables and to ask the decathletes for clarification of questions that may have arisen during the deliverables review. The logistical details of the on-site walkthroughs will be provided to each juror by the contest official prior to the juror’s arrival on the competition site.

#### Phase 3: Deliberation

STEP #1

During the deliberation phase, which takes place after the completion of on-site walkthroughs, the jury is encouraged to place each team into one of four classes based on each team’s performance relative to the contest criteria. The four classes are:

Class #1: ECLIPSES contest criteria 91% – 100% of available points Class #2: EXCEEDS contest criteria 81% – 90% of available points Class #3: EQUALS contest criteria 61% – 80% of available points Class #4: APPROACHES contest criteria 0% – 60% of available points

Juries are not required to place a uniform number of teams in all classes or to place at least one team in every class. For example, if a jury determines that no teams are worthy of Class #1, there would be no teams with scores greater than 90%. Note that placing teams into classes (as a first step toward assigning an eventual percentage integer) is encouraged to ease the process of evaluating so many teams at one time.

If it is possible to further separate teams within a particular class, assigning different percentage integers within the allowed range of the particular class is encouraged. The assigned percentage integer may fall anywhere within the range associated with the class. If it is not possible to further separate teams within a particular class, it may be appropriate to assign each team in a particular class the same percentage integer.

STEP #2

After assigning each team a percentage integer from 0% to 100%, the jury shall submit its percentage integers to the contest official. The contest official will then submit the percentages to the competition official, who will convert them into a score based on the total number of available points for the contest being judged. The competition official will round off any non-integer percentage scores to the nearest integer. Prior to posting scores in the scoring server, the scorekeeper will apply any applicable penalties that may have been incurred.

STEP #3

The three highest-scoring teams (plus ties) will be given awards during a scheduled media announcement during contest week (see Appendix A for announcement schedule). Pending the jurors’ availability, the organizers will invite the jurors to make the announcement. The scores for all of the teams will be posted immediately following the announcement.

STEP #4

The jury shall submit written or recorded scoring justifications for each team to the contest official. The jury’s scoring justifications will be provided as feedback to each team so it might better understand why the jury evaluated the team as it did. The justifications may be posted on the Solar Decathlon China Web site.

## B-2.	Team Guidelines

- It is ultimately the team’s responsibility to clear the house of visitors and be otherwise ready for the arrival of juries at the times indicated in the jury walkthrough schedule, which will be made available to the teams via email. A Solar Decathlon China organizer or staff person called a “runner” will deliver a warning 30 to 60 minutes prior to the arrival of the jury and will help the team clear the house of visitors and manage the line of people waiting to visit the house. A team shall not start clearing its house prior to the runner’s warning in anticipation of the arrival of a jury.

- Teams shall show all possible configurations of the house during the walkthroughs of the Architecture and Market Appeal Juries and, if appropriate, the Engineering, Communications and Innovation Juries. House

configurations that could affect the outcome of contests and that were not seen by a jury during its walkthrough are prohibited during contest week. Some examples of reconfigurable features include:

  - A significant moveable component, such as a room, wall, or bed (safety plan must also be in place)

  - Significant shading devices, such as retractable awnings or operable shutters

  - Towel-drying locations

  - Window coverings that may obstruct views or reduce light levels.

If a team does not have time to do a live reconfiguration during the jury walkthroughs, the team must use some other method, such as photographs or video, to show all reconfigurable features in their various configurations. If a team is not planning to actually reconfigure qualifying features at any time during contest week and has not shown or described the reconfiguration in the drawings, project manual, audiovisual presentation, or video walkthrough, that team does not have to show the reconfiguration to the juries.

All plug-in or portable appliances that may be used during contest week must be in their fully deployed locations and configurations during all jury walkthroughs. Also be aware that juries may request plug-in, portable, or hard-wired appliances to be turned on so they can evaluate noise levels or other characteristics of the appliances that may not be apparent when the appliances are off.

- Rule 11-1, “House Occupancy,” applies during jury walkthroughs. Non-decathlete team members and team crew shall not be present during the walkthroughs.

- The jury walkthroughs will be held to a very strict schedule for each of the houses. The importance of following this schedule is twofold: 1) To ensure each team receives equal visitation time by the juries to maintain a sense of fairness among all the teams; and 2) Any deviation from the schedule will have an immediate effect on other events planned during the days the juries will be evaluating houses. A small deviation in the defined schedule for the juries could result in a very difficult situation to resolve in another component of the competition. If a team is not ready for a jury to begin its evaluation at the scheduled time, then the total time the jury spends in that team’s house will be reduced. With the exception of hot water draws, note that regularly scheduled contest activities will not be suspended or rescheduled to accommodate jury walkthroughs. When there is a scheduling conflict, a hot water draw may be rescheduled to an available 15-minute time period before or after the arrival or departure of the jury.

- During daytime jury walkthroughs, the jury will have 30 minutes to visit each house, followed by a 5-minute period to travel to the next house. During the 30-minute walkthrough, 20 minutes will be allocated for the team to lead the jury through the house and answer any questions the jury may have. After 20 minutes, the team shall leave the house so that the jury can hold a private, 10-minute discussion about the house it has just visited.

- The Architecture Jury will visit each house a second time at night. During the nighttime walkthrough, the Architecture Jury will have 10 minutes to visit each house followed by a 5-minute period to travel to the next house. During the 10-minute walkthrough, 5 minutes will be allocated for the team to answer any questions the jury may have. After 5 minutes, the team shall leave the house so that the jury can hold a private, 5-minute discussion about the house it has just visited.

- Presentation boards or other visual media summarizing information in the “Relevant Deliverables” (see the third column in Table 5) are permitted to be on display during jury walkthroughs. The team Web site, public exhibit handout, and public exhibit materials may only be viewed by the Communications Jury.

- One or more of the eligible house occupants (see rule 11-1 and item c above) may audiotape or videotape the jury walkthrough as it is happening, but taping of the private jury discussion period is prohibited.

- Areas of the house excluded from the accessible exhibit route may be accessed by the juries and considered in their evaluations.

- The organizers will provide all juries with summaries of important rule and code violations for each team so that juries are aware of violations before giving credit for aspects of the project that are not in compliance.

- The organizers may provide juries with contents of the organizers’ reviews of relevant deliverables.

## B-3.	Public Exhibit Requirements

The team shall provide two versions of its public exhibit. Both versions will be evaluated by the Communications Jury.

#### Version #1: Personalized Tour

  - The personalized tour is a comprehensive tour that addresses individual visitors’ needs and questions and is appropriate for times when wait lines are short or nonexistent.

  - Each team will be allowed 15 minutes to present the personalized tour to the Communications Jury.

#### Version #2: Self-Guided Tour

  - The self-guided tour is a fast yet informative tour that allows visitors to move through the house on their own and accommodates large crowds and long lines.

  - Each team will be allowed 5 minutes to explain the self-guided tour to the Communications Jury.

#### Common Requirements

  - Both versions of the public exhibit shall be informative, interesting, and accessible by people of all abilities.

  - While the official language of the Solar Decathlon China 2017 competition is English, teams must be prepared to provide both personalized and Self-Guided tours in both English and Mandarin, Chinese.

  - Teams are encouraged to employ effective and creative methods to control wait times and engage visitors waiting in line during public hours.

  - Power-consuming devices, such as LCD displays, house lighting, mobile electronics, etc., shall not be used during the Communication Jury walkthrough and shall not be presented to the Communications Jury in any way.

  - For additional information, see rule 11-4.

# Appendix C	Measured Subcontest Guidelines

## C-1.	Monitored Performance Subcontests

Points for monitored performance subcontests are expected to be automatically awarded based on measurements made by sensors communicating with a data logger. Prior to the competition, the organizers will provide a list of sensors expected to be used in the monitored performance contests to enable teams to purchase the necessary products to practice the contests before the competition using the same equipment that will be used by the organizers.

The organizers will also provide details for the central data acquisition equipment and associated accessories that collect sensor readings and transmit the data to the scoring server. Detailed policies and procedures for accommodating competition instruments will be distributed on the project group.

NOTE: Additional information will be provided on equipment used for monitored performance subcontests as it becomes available.

## C-2.	Task Completion Subcontests

Within the measured contests, teams earn points in several subcontests by successfully completing a task, the result of which is recorded and consequently entered into the scoring engine. Detailed task completion subcontest policies and procedures will be provided on the project group.

NOTE: Additional information will be provided on procedures used for task completion subcontests as it becomes available.

# Appendix D	Competition Deliverables

Throughout the project, the organizers will require teams to submit deliverables necessary for ensuring safety and for generating sufficient interest in the event. These design deliverables serve the following important functions:

  - In the schematic design summary, the team shall disclose to the organizers all non-standard design features, communications strategies, site operations plans, and health and safety considerations that require further review prior to the continuation of the project into the design development phase.

  - The drawings and project manual shall demonstrate compliance with the Solar Decathlon China Building Code and the Solar Decathlon China Rules so that the inspectors will be able to grant final on-site approval by verifying that the constructed project on the competition site was accurately represented by the approved drawings and project manual.

  - The drawings and project manual shall clearly describe a team’s proposed assembly and disassembly procedures. The site operations manager will review the teams’ procedures to identify and address potential conflicts among the teams.

  - The drawings and project manual are expected to provide sufficient detail to enable a residential contractor to generate an accurate, detailed cost estimate and to efficiently construct the building as the design team intended it to be built.

  - Because the juries have a very limited opportunity to evaluate the constructed projects on the competition site, the submitted jury deliverables will provide the only means for a team to provide a detailed presentation of its project to the juries. In the weeks leading up to contest week, each juror shall evaluate the submitted jury deliverables. The primary purpose of the juries’ walkthroughs on the competition site is to verify that the project, as assembled on the competition site, was accurately represented in the jury deliverables; and to ask the decathletes any clarifying questions that arose during the evaluation of the design via the jury deliverables.

## D-1. Team Short Description & Project Management Plan

#### 100-­‐word description

The team shall provide a 100 -word description of the team and its goals. This is expected to be used by the organizers for outreach and for placement on the Solar Decathlon China website.

#### Project Management Plan

The team shall provide a project management plan that outlines the team’s structure, approach to the competition, general work schedule, course integration, and fundraising schedules. The project plan is limited to five (5) pages.

## D-2. Schematic Design Summary

The schematic design proposal will be reviewed by the organizers and feedback will be provided. It will not be reviewed by any juries and will not be made publicly available until after the completion of the competition, with the exception of the renderings, which may be shared on the Solar Decathlon  China website.

#### Format Requirements

|  | Packaged into a single PDF file. Renderings may be submitted separately, if desired. |
| --- | --- |
|  | Up to 20 pages of A3 or 11” by 17” Tabloid Sheets |
|  | Photographs and images shall have be at least 1080 pixels in their shortest dimension and shall be accompanied by information containing the name and affiliation of the photographer or graphic creator and identification of any individuals visible |

#### Content Requirements

|  | Cover page & Design Concept Summary (excluded from page limits) |
| --- | --- |
|  | Detailed strategy for the competition, including a contest-by-contest breakdown of features and approaches (1 pages) |
|  | Design drawings with concise written description of the following systems and components, with identification of any unique or non-standard systems and components that are being considered (10-15 pages): - Design Diagrams and Illustrations - Designed (Temporary) foundations and anchors - Site Plan, including the competition prototype, tour route, decks, and additional site elements - Landscaping Plan - Dimensioned floor plans of all occupied levels with interior design. Include the tour route - Building sections - Building Elevations - Typical wall, floor, and roof sections - Structural plan and structural system details - Interior finishes, including a required furniture layout and option details on finishes, cabinetry, and other fixtures - Plumbing plan and isometric, including fixtures, piping system layout, and on-site water storage tanks. Provide specifications for equipment and fixtures. - DC electrical plan and one-line diagram. Show integration with PV system. - AC electrical plan and one-line diagram. Include outlet locations, fixture specifications, control systems, and photovoltaic systems - Mechanical plans and schedules, indicating duct sizing and layout, equipment locations and specifications (including HVAC and solar mechanical, if any) - Transportation and on-site assembly approach (modules, cranes, integrated trailers, etc.) |
|  | Summary of potential innovations and non-standard elements being pursued (1 pages) |
|  | Description of public exhibit, communications, and outreach strategy (1 page) |
|  | Computer-generated renderings of competition prototype design (5+ images excluded from page limits) |
|  | Health and Safety Plan outline including approach to meeting Occupational Safety and Health Administration (OSHA) training requirement (1 pages) |
|  | Identification of the licensed design professional expected to stamp structural documentation (1 page). |

## D-3. Team Overview

Teams shall provide updated information on their team strategy, makeup, project design, etc. for use on the China website and for organizer outreach. Teams are encouraged to have developed an online presence (website, social media, blog, etc.) by this time.

#### Format Requirements

- Packaged into a single PDF file. Renderings and/or audiovisuals may be submitted separately, if desired.

- Up to 20  pages

#### Content Requirements

- Updated 100-word description of team and its goals

- Digital representation (renderings, graphic floor plan, photography of scale model, animation, etc.) of competition prototype design (8-10 images, minimum 1080 pixels in shortest dimension)

- Team photograph including as many members of the team as possible and associated file identifying the name of each individual shown and the photographer (1 image, minimum 1080 pixels in shortest dimension)

- Summary of unique project elements, considerations, innovations, research, or technology being considered (1-4 pages)

- Summary of team’s current online presence, including social media accounts and website address, as utilized (1-2 pages)

- Summary of public outreach conducted and press coverage achieved to-date (1-2 pages)

## D-4. Design Development Documentation Submission

The design development submission shall represent 90% complete construction documentation. The documentation shall clearly indicate all design details, house systems, and methodologies expected to be present in the competition prototype on the competition site. While some details may not be fully-complete or finalized, the design development submission shall provide sufficient information for the organizers to conduct a thorough rules and building code compliance review.

The submission must address the team’s approach to safety, including identification of team-specific concerns and constraints. All major decisions with regard to the project design is expected to be complete. The design development submission will not be reviewed by any juries, however, it may be made publicly available following each submission.

### Design Development Drawings

#### Format Requirements

- Packaged into a single, bookmarked PDF document

- Up to 150 pages

- ANSI “D” (22 in. X 34 in.) sheet size

#### Content Requirements

- Design drawings, including at a    minimum:

- General - including solar envelope compliance, accessible tour route, finished square footage, water delivery and removal compliance information, and constructed footprint calculations

- Site - including temporary footing locations, ground penetrations, and adjustable footings

- Landscape - including plantings, containers, and watering methodology

- Structural - including building, decking, and associated structures

- Architectural - including dimensioned floorplans, building sections, detailed sections, reflected ceiling plans, roof plans, elevations, window and door schedules, and exterior structures

- Interior -, including finishes, furniture layout, and cabinetry

- Fire Protection - including sprinklers and required detection systems

- Plumbing, - including layout, schedules, diagrams, and solar thermal (if applicable)

- Mechanical - including layout, schedules, diagrams, and installation requirements

- Electrical -, including AC and DC layout, 1-line diagrams, 3-line diagrams, and sizing calculations

- Telecommunications - including instrumentation, wiring, and associated elements

- Operations - including house transportation, assembly methodology, and staging

### Design Development Project Manual

#### Format Requirements

- Packaged into a single, bookmarked PDF    document

#### Content Requirements

- Project Overview

- Detailed Water Budget

- Interconnection Application Form, including summary of any unlisted electrical components

- Summary of reconfigurable features

- Health and Safety Approach18

- Energy Analysis and Model

- Structural Professional Acknowledgement Letter, signed by licensed professional indicating acceptance of the Construction Documentation deliverable deadline and support of team

- Structural Calculations

- Construction Specifications

## D-5. Digital Project Representation

The teams shall submit renderings, photographs, graphics, and/or animations representing the competition prototype design and competition entry for use on the China website and in outreach materials generated by the organizers. High quality and varied submissions are expected to lead to greater visibility for the team. This submission can include renderings, photography of scale models or mock-ups, refined graphics, computer-generated walkthroughs, 360-degree virtual tours, or other representations as determined by the team. The organizers will select a subset of submitted documentation for public distribution.

18 The team must indicate its approach to meeting the requirements for Health and Safety outlined in Appendix F.

#### Format Requirements

- Packaged into a single, zipped file. If elements are hosted online, a link shall be included in the submission.

- Photographs shall be at least 1080 pixels in their shortest dimension and shall be accompanied by a file containing the name and affiliation of the photographer or graphic creator and identification of any individuals visible

- Videos, if submitted, shall be widescreen format and accompanied by documentation including a verbatim transcript of the audio narrative to meet Section 508 Accessibility standards and identification of the creator and any individuals visible in the video. Closed captioning does not need to be included within the video file. Permission must be provided for any copyrighted content or audio used as part of the video.

#### Content Requirements

- Minimum of five images, with at least one exterior, one interior, and one birds-eye view

- Photographs shall be at least 1080 pixels in their shortest dimension and shall be accompanied by a file containing the name and affiliation of the photographer or graphic creator and identification of any individuals visible

- Videos, if submitted, shall be widescreen format and accompanied by documentation including a verbatim transcript of the audio narrative to meet Section 508 Accessibility standards and identification of the creator and any individuals visible in the video. Closed captioning does not need to be included within the video file. Permission must be provided for any copyrighted content or audio used as part of the video.

## D-6. Final Construction Documentation Submission

The final construction documentation submission shall represent 100% complete construction documentation, with sufficient detail for a contractor to build the competition prototype house as it is expected to appear on the competition  site. The documentation shall include complete and final design details, house system specifications, and construction. While it is recognized that a few minor details may change during construction, the construction documentation submission shall provide sufficient information for the organizers to conduct a final rules and building code compliance verification. The submission must address the team’s approach to safety, including identification of team-specific concerns and constraints. The construction documentation submission will not be reviewed by any juries, however, it may be made publicly available following each submission.

### Construction Drawings

#### Format Requirements

- Packaged into a single, bookmarked PDF document

- Up to 150 pages

- ANSI “D” (22 in. X 34 in.) sheet size

#### Content Requirements

Complete construction drawings, including at a minimum:

- General - including solar envelope compliance, accessible tour route, finished square footage, water delivery and removal compliance information, and constructed footprint calculations

- Site - including temporary footing locations, ground penetrations, and adjustable footings

- Landscape - including plantings, containers, and watering methodology

- Structural - including building, decking, and associated structures

- Architectural - including dimensioned floorplans, building sections, detailed sections, reflected ceiling plans, roof plans, elevations, window and door schedules, and exterior structures

- Interior -, including finishes, furniture layout, and cabinetry

- Fire Protection - including sprinklers and required detection systems

- Plumbing, - including layout, schedules, diagrams, and solar thermal (if applicable)

- Mechanical - including layout, schedules, diagrams, and installation requirements

- Electrical -, including AC and DC layout, 1-line diagrams, 3-line diagrams, and sizing calculations

- Telecommunications - including instrumentation, wiring, and associated elements

- Operations - including house transportation, assembly methodology, and staging

### Project Manual

#### Format Requirements

- Packaged into a single, bookmarked PDF document

#### Content Requirements

- Project Overview

- Detailed Water Budget

- Interconnection Application Form, including summary of any unlisted electrical components

- Summary of reconfigurable features

- Complete Energy Analysis and Model

- Construction Specifications

### Stamped Structural Submission

The structural submission shall represent a complete structural design, including structural calculations and specifications. The entire submission shall be stamped by a licensed design professional, such as a structural engineer or architect, licensed to stamp residential structural drawings and calculations in the team’s authority having jurisdiction and with educational and professional qualifications comparable to those required for licensure in China.

#### Format Requirements

- Packaged into a single, bookmarked PDF document

#### Content Requirements

- Stamped structural calculations and specifications demonstrating compliance with the Solar Decathlon China building code

### Health and Safety Plan

#### Format Requirements

- Packaged into a single, bookmarked PDF document

#### Content Requirements

- Health and Safety Plan meeting the requirements outlined in Appendix E

## D-7.  Project Summary & Public Exhibit Materials

The team shall submit an updated description of the project team and design approach, renderings, graphic floor plans, logos, and other relevant information for use on the Solar Decathlon China website and for organizer outreach about the event. The team shall submit all public exhibit materials the team plans to employ on the competition site, for organizer review of proper use of Solar Decathlon China branding, sponsor recognition, content, etc.

### Project Summary

#### Format Requirements

- Packaged into a single, bookmarked PDF document

- 10 pages maximum

#### Content Requirements

- A 100-word or less description of your team house. (1 paragraph)

- Design philosophy and house design, indicating goals, architectural style, target market, etc. (1 page)

- Unique house features. What makes the house unlike any other? (1 page)

- Technological innovations incorporated into your house. (1-2 pages)

- Define the target client for the team house and how the design responds to this market’s needs. (1 paragraph)

- Team organization, number of members, and primary contacts. (1 page)

- Future plans for the house. Where will it go after the competition? (1 paragraph).

### Team Photograph

#### Format Requirements

- Photographs shall have be at least 1080 pixels in their shortest dimension and shall be accompanied by a file containing the name and affiliation of the photographer or graphic creator and identification of any individuals visible

#### Content Requirements

- Include all team members (if possible) and strive for creativity

### Construction Photography

#### Format Requirements

- Photographs shall have be at least 1080 pixels in their shortest dimension and shall be accompanied by a file containing the name and affiliation of the photographer(s) and identification of any individuals visible

#### Content Requirements

- At least 10 photographs showing construction to-date of the competition prototype

### Team Logo

#### Format Requirements

- Vector or high-resolution format appropriate for print; EPS preferred

#### Content Requirements

- Graphic logo

- Associated text file containing name, phone number, and email of person submitting logo

### Digital Project Representation

The teams shall submit updated renderings, photographs, graphics, and/or animations representing the competition prototype design and competition entry for use on the Solar Decathlon China website and in outreach materials generated by the organizers. High quality and varied submissions are expected to lead to greater visibility for the team. This submission can include renderings, photography of scale models or mock-ups, refined graphics, computer-generated walkthroughs, 360-degree virtual tours, or other representations as determined by the team. The organizers will select a subset of submitted documentation for public distribution.

#### Format Requirements

- Packaged into a single, zipped file. If elements are hosted online, a link shall be included in the submission.

- Photographs shall have be at least 1080 pixels in their shortest dimension and shall be accompanied by a file containing the name and affiliation of the photographer or graphic creator and identification of any individuals visible

- Videos, if submitted, shall be widescreen format and accompanied by a document including a verbatim transcript of the audio narrative to meet Section 508 Accessibility standards and identification of the creator and any individuals visible in the video. Closed captioning does not need to be included within the video file. Permission must be provided for any copyrighted content or audio used as part of the video.

#### Content Requirements

Minimum of five images, with at least one exterior, one interior, and one birds-eye view

Photographs shall have be at least 1080 pixels in their shortest dimension and shall be accompanied by a file containing the name and affiliation of the photographer or graphic creator and identification of any individuals visible

Videos, if submitted, shall be widescreen format and accompanied by a document including a verbatim transcript of the audio narrative to meet Section 508 Accessibility standards and identification of the creator and any individuals visible in the video. Closed captioning does not need to be included within the video file. Permission must be provided for any copyrighted content or audio used as part of the video.

### Competition Prototype Graphic Floor Plan

The graphic floor plan is expected to be posted to the Solar Decathlon China website and used in various communications

materials to introduce the public to each competition prototype. The floor plan should be presented in a way to demonstrate the layout of the house, interior furnishings, and all site elements.

Format Requirements

Natively-generated vector PDF file

Content Requirements

Complete floor plan of competition prototype showing all exterior elements, including landscaping, ramps, decks, and solar envelope and interior elements, including furniture and fixtures

Dinner Party Menus and Recipes

Format Requirements

Packaged into a single, bookmarked PDF file

Content Requirements

- Restaurant-style dinner party menu for each dinner party

- Comprehensive ingredient list for each dinner party.

Public Exhibit Materials

Format Requirements

- Packaged into a single, bookmarked PDF file

- Each public exhibit material shall be represented at its full scale within the PDF; therefore, it is expected that the PDF may contain sheets at several different scales.

Content Requirements

- Design of onsite signage, team handout, digital displays, or other products intended to convey information to the public

- Plan depicting location of all public exhibit materials

- Team uniform design

- Links to team website and/or social media accounts

## D-8. Jury Deliverables

The jury deliverables provide an opportunity for teams to present their projects to each jury prior to arrival on the competition site. The jury deliverables are expected to provide a summary of each team’s approach to meeting the contest requirements for each of the juried contests. The narratives may include any combination of text and graphics. The narratives may link to multimedia hosted online, which may be reviewed by jurors as time permits. The narratives will not be made public prior to the release of the respective contest results.

### Jury Narratives

#### Format Requirements

- Packaged  into  a single, bookmarked  PDF  file for each jury

#### Content Requirements

- Architecture Narrative, including architectural photography of the house (10 pages, maximum + up to 10 photographs)

- Market Potential Narrative, including complete cost estimate19 (10 pages, maximum + cost estimate)

- Engineering Narrative, including energy model and analysis (10 pages, maximum + energy model analysis & results)

- Communications Narrative, including links to team website and/or social media properties (10 pages, maximum + onsite public exhibit materials)

- Innovation Narrative (10 pages, maximum)

- Water Narrative (10 pages, maximum)

### As-­‐Built Drawings

#### Format Requirements

- Packaged into a single, bookmarked PDF document

- Up to 150 pages

- ANSI “D” (22 in. X 34 in.) sheet size

#### Content Requirements

- Complete construction drawings representing the as-built competition prototype house and with sufficient detail for a residential general contractor to build the house without additional input from the team.

19 The construction estimate shall be created in accordance with Appendix G

### As-­‐Built Specifications

#### Format Requirements

- Packaged into a single, bookmarked PDF document, of sufficient detail for a residential general contractor to build the house without additional input from the team.

#### Content Requirements

- Construction   Specifications

### Audiovisual Presentation

#### Format Requirements

- Widescreen, high-definition video file (such as .mov, .mp4, etc.)

- 3 minute maximum length

- Accompanied by a document including a verbatim transcript of the audio narrative to meet Section 508 Accessibility standards and identification of the creator and any individuals visible in the video. Closed captioning does not need to be included within the video file. Permission must be provided for any copyrighted content or audio used as part of the video.

#### Content Requirements

- Must include video footage of the complete constructed house as built prior to the competition

- May contain still photos and graphics

- Gives the jurors a realistic preview of what they will experience during the on-site walkthroughs

- Includes an audio narrative that explains to viewers what they’re seeing and describes the underlying philosophy behind the design and team approach to the competition

## D-9. Final Report

The Final Report shall reflect the results of the team’s Solar Decathlon China project. It will be used by the organizers to improve future events and provide lessons-learned opportunities. The final report may be accompanied by a participant survey that shall be completed by all student and faculty team members.

#### Format Requirements

- Packaged into a single, bookmarked PDF document

- 20 pages maximum

#### Content Requirements

- Summary of fundraising activities— final project budget and lessons learned

- Results of media-outreach activities—include statistics

- Results of on-site exhibition activities—estimates of the number of visitors; assessment of visitor experiences ; and lessons learned—what went well, what didn’t, and what you would do differently

- Evaluation of the team’s online presence, including statistics; lessons learned—what went well, what didn’t, and what you would do differently

- Team perspective on the effectiveness of the organizers’ communications efforts with both the teams and the public

- Description of future plans for the house

- Short description of each team officer’s future plans for employment, continued study, or other endeavors;

- Suggested competition improvements

- Any other information you feel would be helpful to the organizers or future teams.

# Appendix E	Communications Deliverables

## E-1.	Web Site

A URL to a preliminary Web site consisting of at least three pages shall be evaluated by communications professionals at the SD China Organizing Committee (SD China OC) to ensure compliance with the minimum Web site coding and accessibility standards provided in this appendix.

Each team shall be notified of required changes they must make to achieve site compliance. As team Web sites meet compliance, SD China OC will link to the sites from the Solar Decathlon China Web site. The Communications Jury will only evaluate sites that are linked to the main Solar Decathlon China Web site.

As significant changes (e.g., new features or a complete redesign) are made to the team Web sites between this deadline and the competition, teams are encouraged to request additional compliance reviews from the SD China OC.

#### Minimum Web Site Coding and Accessibility Standards

  - All team Web sites shall comply with rules 10-2 and 10-3.

  - Common elements:

    - A text or graphical link to the Solar Decathlon China home page is provided on the home page in either the header or the footer.

    - At a minimum, an e-mail contact to the Webmaster is provided as a graphical or text link on the home page of the site.

    - Left or top navigation (or both), if used, link correctly; on and off states work correctly and can be skipped by screen readers.

    - Each page has a meaningful and unique <title> tag.

  - Page layout:

    - Pages must display correctly (e.g., no horizontal scrolling is necessary to view the full width of the page) in 1024 x 768 resolution (800 x 600 resolution is also acceptable).

    - Page information conveyed with color is also available without color, and foreground and background colors provide sufficient contrast.

    - Headers and footers are consistent throughout the site.

  - Directories and files:

    - File names do not contain uppercase letters, spaces, or special characters (e.g., & or $).

  - HTML syntax:

    - HTML syntax follows HTML 4.01 transitional standards or higher and has been validated by the W3C Validator.

    - Row and column headings have been provided for all data tables.

  - Links:

    - All links work throughout the site.

    - Links are coded relatively on static pages within the site.

    - Hypertext links used in content throughout the site are underlined to indicate they are links.

  - Scripts/applets/dynamic pages (CGI, JavaScript, Java, etc.):

    - Every script works correctly in the standard browser set.

    - Content produced by scripting languages is accessible or has an accessible alternative.

    - Pages requiring applets or plug-ins must provide a link to an accessible page where they can be downloaded.

    - If a timed response is required, the user can request more time to complete an operation.

    - Back button functionality is not impaired.

  - Forms:

    - Forms include text labels that correspond with form controls and markup to associate the two.

  - Graphics:

    - All images are stored in a separate subdirectory.

    - Graphics have meaningful “alt” tags. (Use empty alt tags for spacer gifs and other unimportant graphics.)

    - Alt descriptions are used with all client-side image maps.

  - Multimedia:

    - All

      - All multimedia files are stored in a separate subdirectory.

      - Equivalent alternatives are provided for all multimedia.

      - Pages requiring an applet or plug-in must provide a link to a page where the applet or plug-in can be downloaded.

    - QuickTime VR

      - All QuickTime VRs scroll correctly.

      - All QuickTime hotspots link correctly.

    - Flash

      - Animation has been tested on a browser without a plug-in downloaded. (Ensure the download process flows smoothly and that the animation works when loaded.)

      - Check all links within Flash animation. If the user exits Flash animation early, ensure that she will go to an appropriate page.

      - Sound works correctly.

      - If Flash is used as an introductory “splash” screen, there is an option provided to skip it.

      - Provide an accessible equivalent to the Flash animation.

    - Video

      - All video shall be accompanied by either synchronous captioning or a text version to meet Section 508 Accessibility standards. For information, visit the “Make Your Videos, Audio Files, Podcasts, and Other Multimedia Section 508 Compliant and Accessible” feature on the USA.gov Web site.

  - Documents for downloading and printing:

    - PDFs

      - All PDFs are stored in a subdirectory labeled “pdfs.”

      - References to PDFs within the HTML document use a consistent format and link scheme throughout the site (e.g., PDF 54 KB).

      - Every page with a PDF link also includes a link to download Adobe Reader (http://get.adobe.com/reader/) with the text “Download Adobe Reader.”

    - Native file formats

      - Native file format documents are placed in a separate subdirectory, such as a “docs” subdirectory.

      - References to native files within the HTML document will use the following format and link scheme throughout the site: Title of Document (Software 54 KB). Examples:

        - The Value of Renewables (MS Word 54 KB)

        - The Value of Renewables (Excel 54 KB)

        - The Value of Renewables (PowerPoint 54 KB)

  - Testing:

    - For quality-control testing, test the site in the standard browser set:

#### Final Web Site

The final Web site URL shall be evaluated by the Communications Jury. The Communications Jury shall begin evaluations of team Web sites at the same time that assembly begins at the competition site.

The final Web site shall consist of considerably more content than the preliminary Web site.

## E-2.	Computer-Animated Walkthrough

Each team shall provide a computer-animated walkthrough of its house for the following purposes:

- To be included in a compilation video of all Solar Decathlon China 2017 walkthroughs that will be presented to audiences at the 2016 Design Workshop.

#### To be posted on the Solar Decathlon China Web site as an introduction to each house.

#### Format Requirements

|  | Packaged into a single Quicktime .mov file (1280 × 720 30fps h.264/mp4 high-definition format) |
| --- | --- |
|  | Runtime between 3 and 3.5 minutes |
|  | Shall be accompanied by either synchronous captioning and a text version. For information, visit the “Make Your Videos, Audio Files, Podcasts, and Other Multimedia Section 508 Compliant and Accessible” feature on the USA.gov Web site. - Synchronous captioning is always preferred. See the W3C site for more information on synchronous captioning. For an example of a video with synchronous captioning, see the Super Boiler Overview video. - If you cannot caption your video, then you must write a text version. Read about how to write text versions. For an example of a text version script, see the Wind Power Animation (Text Version). - If possible, videos should be accompanied by both synchronous captioning and a separate text version of the audio. |

Content Requirements

|  | Composed of animated computer renderings that walk viewers through the house |
| --- | --- |
|  | Includes an audio narrative that explains to viewers what they’re seeing and describes the philosophy behind the design |
|  | Does not include elements that are inherently inaccessible to those with visual disabilities |

## E-3.	Video Walkthrough

Each team is required to provide a video walkthrough of its house for the following purposes:

- To be posted on the Solar Decathlon China Web site as an update to the computer-animated walkthrough

- To be evaluated by the Communications Jury.

#### Format Requirements

The format requirements for the video walkthrough are the same as the format requirements for the computer-animated walkthrough (see Appendix E-2).

#### Content Requirements

|  | Composed of video footage of the final constructed house |
| --- | --- |
|  | Includes an audio narrative that explains to viewers what they’re seeing and describes the philosophy behind the design |
|  | Does not include elements that are inherently inaccessible to those with visual disabilities |

## E-4.	Scale Model

Each team shall build a detailed scale model of its project for display at 2016 Design Workshop.

#### Requirements

|  | Teams are responsible for transporting their models to a designated location. |
| --- | --- |
|  | The model shall be built at 1:24 scale. |
|  | The model shall be built on a 1-m.-by-1-m. base. These dimensions are equivalent to the 24-m-by-24-m lot size at 1: 24scale. |
|  | In addition to the primary dwelling units, all exterior construction and site components shall be included in the model. |

## E-5.	Project Summary

Important to many communications-related aspects of the Solar Decathlon China, project summaries:

- Provide essential content for the organizers to use while developing various event materials (e.g., the Web site, event program, media kit, and village signage)

- Prepare teams to answer questions from visitors to their construction sites and to the event at the competition site

- Help organizers and teams respond effectively to media inquiries.

All project summary materials (narrative, photograph, and logos) shall be saved in the formats indicated and submitted to organizers in one .zip file.

### Narrative

#### Format Requirements

|  | Packaged into a single, bookmarked PDF file (see Appendix G for PDF formatting and file-naming requirements) |
| --- | --- |
|  | 5 pages maximum |
|  | 11-pt. type, double spaced, 25mm margins |

Content Requirements

|  | A 100-word description of your team house. |
| --- | --- |
|  | The team mission statement, goals, and values. What is the team’s “personality”? What does the team want to accomplish? What does the team care about? |
|  | Design philosophy and house design. What is the team trying to portray or accomplish with this design? What will the house look like? What are some of the key features? |
|  | Unique house features. What makes the house stand out, or appear unique? |
|  | Technological innovations. What unique or unusual technologies are incorporated into your house? |
|  | Market appeal. Who is the target client for the team house? How does the design accommodate the needs and desires of this client? |
|  | Team organization and contacts. Indicate how your team is organized and approximately how many students, faculty, and others (e.g., sponsors, volunteers, family members) are involved in the project. |
|  | Future plans for your house. Where will it go after the competition? |

### Team Photograph

For use in the event program, media kit, and Solar Decathlon China Web site, the team photo is an important conveyance of your team’s personality.

#### Format Requirements

|  | Native format of the camera, such as JPEG or RAW, if available |
| --- | --- |
|  | 2048 × 1080 minimum pixel dimensions |
|  | RGB, 8-bit color, not black and white |
|  | Every file conversion or image re-sampling from the original results in image degradation, so keep conversions to a minimum. |

Content Requirements

|  | Include all team members (if possible) and strive for creativity. |
| --- | --- |
|  | For a photograph to be properly credited, the following information shall be included in the file’s metadata or in a text file accompanying the photograph file: - Name, phone number, and e-mail of person submitting the photograph - Photograph date and location - Photographer’s name and affiliation. |

### Team Logo

The team logo is used by organizers in village signage, the event program, media kit, and Solar Decathlon China Web site.

#### Format Requirements

|  | Submit two versions of your logo: - One for Web (GIF or JPG, at least 200 px wide). GIF is preferred for simple flat-color logos. JPG is preferred for complex logos. - One for print (high-resolution EPS or other vector art). |
| --- | --- |

Content Requirements

|  | Include a text file containing the following additional information: - Name, phone number, and e-mail of person submitting the logo - A list of all PMS or CMYK numbers used in the logo. |
| --- | --- |

## E-6.	Public Exhibit Materials

All team communications materials at the competition site shall support the goal of Contest 4: Communications, which is to educate consumers about the project and topics relevant to the project.

- Teams shall submit all public exhibit materials to organizers for review. Organizers will determine whether materials meet competition and hosting city guidelines.

- Public exhibit materials shall be evaluated by Communications Jury members.

#### Format Requirements

|  | Packaged into a single, bookmarked PDF file (see Appendix G for PDF formatting and file-naming requirements) |
| --- | --- |
|  | Each public exhibit material shall be represented at its full scale within the PDF. Therefore, it is expected that the PDF may contain sheets at several different scales. |

Content Requirements

|  | Team handout (shall abide by rules 10-2, 10-3, and 11-4b) |
| --- | --- |
|  | Signage (shall abide by rules 10-2, 10-3, and 11-4c) |
|  | Team uniform design (shall abide by rule 11-5) |
|  | Plan drawing of team site depicting public exhibit material locations and tour route at 1:48 scale |

## E-7.	Final Report

The Final Report shall reflect the results of the team’s Solar Decathlon China project.

#### Format Requirements

|  | Packaged into a single PDF file (see Appendix G for PDF formatting and file-naming requirements) |
| --- | --- |
|  | Intent of figures shouldn’t be lost if printed in black & white |
|  | ISO “A4” (210 mm X 297 mm) sheet size |
|  | 20 pages maximum, including figures, tables, and appendices; cover sheet and table of contents do not count toward page limit |
|  | 11-point body text |
|  | Maximum 14-point heading text |
|  | 25mm margins on top, bottom, left, and right |
|  | Include page numbers and numbered captions for figures and tables for easy navigation through document |

Content Requirements

|  | Results of fundraising activities—final quantity of contributions (cash and in-kind); final project budget and accounting; lessons learned—what went well, what didn’t, and what you would do differently. |
| --- | --- |
|  | Results of media-outreach activities—include statistics. |
|  | Results of on-site exhibition activities—estimates of the number of visitors to the house (justify estimates); assessment of visitor experiences (include qualitative data); and lessons learned—what went well, what didn’t, and what you would do differently. |
|  | Evaluation of the team’s Web site—number of hits, unique visits, and any other user statistics; lessons learned—what went well, what didn’t, and what you would do differently. |
|  | Team perspective on the effectiveness of the organizers’ communications efforts with both the teams and the public. |
|  | Description of future plans for the house, including a statement indicating whether the participating institution(s) would be interested in partnering with SD China to use the house for follow-up collaborative research and outreach projects. |
|  | Short description of each team officer’s future plans for employment, continued study, or other endeavors. SD China requests this information for possible inclusion in publications and presentations describing how the Solar Decathlon China program serves as an effective workforce development and university research project. |
|  | Suggested competition improvements. |
|  | Any other information you feel would be helpful to the organizers or future teams. |

# Appendix F	Health and Safety Plan

Each team is required to submit a Health and Safety Plan that identifies the following:

  - How you will be minimizing risk

  - How you will address major hazards that may be encountered during assembly and disassembly activities on the competition site

  - How you will control these hazards to prevent injury to team members, volunteers, organizers and the public

  - How you will ensure that you are in compliance with applicable regulations.

## F-1.	Plan Development

A Health and Safety Plan template will be made available in the “/Files/Site Ops and Safety” folder of the Yahoo Group. The template identifies major topics to address, the level of detail required, performance expectations, and requirements such as minimum levels of training needed for various team positions. The format of your submitted plan can deviate slightly from the recommended template as long as the information and level of detail is equivalent.

You are encouraged to work or consult with your school’s environment, safety and health department during the development process. They can be an excellent resource when developing your Health and Safety Plans, while also ensuring that school-specific requirements are addressed.

## F-2.	Required Training

To ensure a minimum knowledge base regarding health and safety issues during construction activities, the team’s project manager, construction manager, and health and safety officer are required to complete the OSHA 30-hour Construction Safety Training course. Proof of course completion for the OSHA 30-hour Construction Safety Training shall be included in the Health and Safety Plan.

## F-3.	Submission and Approval

Teams are required to submit their Health and Safety Plan to SD China Organizing Committee for acceptance. Once your plan has been accepted, it is your responsibility to make updates if parameters change. For example, if you did not plan to use a crane to place your house when your plan was submitted but later decide that a crane will be necessary, then you are required to update your plan accordingly.

During the event, a current copy of your team’s Health and Safety Plan shall be posted on your site. Individuals working on your site shall be briefed on the final, approved plan so they know the expectations regarding safety, hazards, and controls.

# Appendix G	Deliverable Submission Instructions

Deliverables are considered to be on time if they are received by the competition official by 5 p.m. China Standard Time (CST) on the respective due date. Refer to the “Deliverables Status Sheet” which will be posted later in the “/Files/Deliverables status sheets” folder on the Yahoo Group for deliverable due dates and required file formats for each of the respective deliverables.

## G-1.	Web Site URL

Web site URLs shall be e-mailed to the competition official at support@sdchina.org.

## G-2.	PDF Requirements

  - Files submitted as a PDF shall meet the following criteria: (i).   Embed all fonts.

(ii).  Maintain a minimum resolution of 300 dpi.

  - If an application does not support a direct-to-PDF function, create a postscript file by printing to a postscript printer with the “print to file” option selected. Use this postscript (.ps or .prn) file to create a PDF using Acrobat Distiller’s high-resolution job settings.

- Creating a PDF from scans, or by outputting the content into a raster image format (.jpg, .tiff, .png, .gif, etc.) and then creating a PDF from the images, is NOT ACCEPTABLE.

- All-raster PDFs are large files at 300dpi, are of unacceptable quality at lower resolutions, and are not scalable without degradation.

## G-3.	Electronic File-Naming Instructions

The required file-naming convention for all electronic files follows:

[LEADING ORGANIZATION]_[FILE NAME]_[SUBMISSION DATE (YYYY-MM- DD)].[EXTENSION]

Examples:

a. Tongji University Schematic Design Summary

Tongji University_ Schematic Design Summary _2016-05-05.jpg

b. UC Davis exterior rendersing submitted separately

UC Davis_Exterior Rendering_2016-05-05.jpg

## G-4.	Electronic File Submission Options

All electronic files shall be uploaded to the appropriate Solar Decathlon China Website Submission page.